TENDER NO. JOOUST/ONT/006/17-19

PROVISION OF EXTENSION OF HEATH SERVICE CLINIC AT MAIN CAMPUS- BONDO

(A mandatory site visit/pre-bid meeting will be held at Jaramogi Oginga Odinga University Main Campus - Bondo on Thursday, 23rd November, 2017 at 11:00am

CLOSING DATE: THURSDAY, 30th NOVEMBER, 2017 AT 10:00 A.M.

TABLE OF CONTENTS

INTRODUCTION ………………………………………    1

SECTION I:               INVITATION TO TENDER ……………………………………    3

SECTION II:               INSTRUCTIONS TO TENDERERS …………………………… 5

EVALUATION CRITERIA …………………………………….   20

SECTION III:             CONDITIONS OF CONTRACT ………………………………… 22

PAGE

SECTION IV:            APPENDIX TO CONDITIONS OF CONTRACT ……………….. 48

SECTION V:              SPECIFICATIONS/BILLS OF QUANTITIES …………………    51

SECTION VIII:           STANDARD FORMS …………………………………………… 70

SECTION I:                         INVITATION FOR TENDERS

TENDER REFERENCE: NO. JOOUST/ONT/006/17-18

TENDER NAME:  PROVISION SMALL WORKS FOR EXTENSION OF HEALTH SERVICE CLINIC AT MAIN CAMPUS - BONDO

1.1.    Jaramogi Oginga Odinga University Of Science And Technology  invites sealed bids from all interested candidates for the provision of extension of health service clinic at main campus –Bondo

1.2    Interested eligible candidates may obtain further information from and inspect the tender documents at Jaramogi Oginga Odinga University of Science and Technology Procurement Office Bondo during normal office working hours (8.00am-1.00pm, 2.00pm – 5.00pm). Bidders may also view and download the bidding document from website: www.jooust.ac.ke  and immediately forward their particulars for records and for the purposes of receiving any further tender clarifications and/or addendums to proc@jooust.ac.ke

1.3     Prices quoted should be net inclusive of all taxes and delivery costs, must be expressed in Kenya shillings or easily convertible foreign currency and shall remain valid for a period of 90 days from the Closing date of the tender.

1.4     A mandatory site visit/pre-bid meeting will be held at Jaramogi Oginga Odinga University of Science and Technology –Main Campus on Thursday, 23rd. November 2017 at 10:00am.

1.5    Completed tender documents are to be enclosed in plain sealed envelopes marked with tender reference number and be deposited in the Tender Box at Tender Box at Ground Floor, Main Campus Reception Jaramogi Oginga Odinga University of Science and Technology be addressed to:

The Vice Chancellor,

Jaramogi Oginga Odinga University of Science and Technology

P.O Box 210- 4061

Bondo

So as to be received on or before Thursday, 30th June, 2017 at 10.00 AM

1.6    Tenders will be opened immediately thereafter in the presence of the Candidates or their representatives who choose to attend at EACCI

SECTION II -            INSTRUCTIONS TO TENDERERS

TABLE OF CONTENTS

CLAUSE                                                                                                 PAGE

1.  General …………………………………………………. 4

2.  Tender Documents …………………………………        6 - 7

3.  Preparation of Tenders ………………………………… 7 - 8

4.  Submission of Tenders ………………………………… 10 - 11

5.  Tender Opening and Evaluation ………………………    11 - 13

6.  Award of Contract ……………………………………     13 - 14

SECTION II – INSTRUCTIONS TO TENDERERS

1.       General/Eligibility/Qualifications/Joint venture/Cost of tendering

1.1 	The Employer as defined in the Appendix to Conditions of Contract invites tenders for Works Contract as described in the tender documents.  The successful tenderer will be expected to complete the Works by the Intended Completion Date specified in the tender documents.

1.2 	All tenderers shall provide the Qualification Information, a statement that the tenderer (including all members of a joint venture and subcontractors) is not associated, or has not been associated in the past, directly or indirectly, with the Consultant or any other entity that has prepared the design, specifications, and other documents for the project or being proposed as Project Manager for the Contract. A firm that has been engaged by the Employer to provide consulting services for the preparation or supervision of the Works, and any of its affiliates, shall not be eligible to tender.

1.3  	All tenderers shall provide in the Form of Tender and Qualification Information, a preliminary description of the proposed work method and schedule, including drawings and charts, as necessary.

1.4 	In the event that pre-qualification of potential tenderers has been undertaken, only tenders from pre-qualified tenderers will be considered for award of Contract.   These qualified tenderers should submit with their tenders any information updating their original prequalification applications or, alternatively, confirm in their tenders that the originally submitted pre-qualification information remains essentially correct as of the date of tender submission.

1.5  	Where no pre-qualification of potential tenderers has been done, all tenderers shall include the following information and documents with their tenders , unless otherwise stated:

(a)	copies of original documents defining the constitution or legal status, place of registration and principal place of business; written power of attorney of the signatory of the tender to commit the tenderer:

(b)     total monetary value of construction work performed for each of the last five years:

(c)	experience in works of a similar nature and size for each of the last five years, and details of work under way or contractually committed; and names and addresses of clients who may be contacted for further information on these contracts;

(d)     Major items of construction equipment proposed to carry out the Contract and an undertaking that they will be available for the Contract.

(e)	Qualifications and experience of key site management and technical personnel proposed for the Contract and an undertaking that they shall be available for the Contract.

(f)	reports on the financial standing of the tenderer, such as profit and loss statements and auditor’s reports for the past three years;

(g)     evidence of adequacy of working capital for this Contract (access to line(s) of credit and availability of other financial resources);

(h)     authority to seek references from the tenderer’s bankers;

(i)      information regarding any litigation, current or during the last five years, in which the tenderer is involved, the parties concerned and disputed amount; and

(j)      proposals   for   subcontracting   components   of   the   Works amounting to more than 10 percent of the Contract Price.

1.6 Tenders submitted by a joint venture of two or more firms as partners shall comply with the following requirements, unless otherwise stated:

(a)	the tender shall include all the information listed in clause 1.5 above for each joint venture partner;

(b)     the tender shall be signed so as to be legally binding on all partners;

(c)	all partners shall be jointly and severally liable for the execution of the Contract in accordance with the Contract terms;

(d)     one of the partners will be nominated as being in charge, authorised to incur liabilities, and receive instructions for and on behalf of all partners of the joint venture; and

(e)     the execution of the entire Contract, including payment, shall be

done exclusively with the partner in charge.

1.7 To qualify for award of the Contract, tenderers shall meet the following minimum qualifying criteria;

(a) annual  volume  of  construction  work  of  at  least  2.5  times  the estimated annual cashflow for the Contract;

(b) experience as main contractor in the construction of at least two works of a nature and complexity equivalent to the Works over the last 10 years (to comply with this requirement, works cited should be at least 70 percent complete);

(c) proposals for the timely acquisition (own, lease, hire, etc.) of the essential equipment listed as required for the Works;

(d) a Contract manager with at least five years’ experience in works of an equivalent nature and volume, including no less than three years as Manager; and

(e) liquid  assets  and/or  credit  facilities,  net  of  other  contractual commitments and exclusive of any advance payments which may be made under the Contract, of no less than 4 months of the estimated payment flow under this Contract.

1.8     The figures for each of the partners of a joint venture shall be added together to determine the tenderer’s compliance with the minimum qualifying criteria of clause 1.7 (a) and (e); however, for a joint venture to qualify, each of its partners must meet at least 25 percent of minimum criteria 1.7 (a), (b) and (e) for an individual tenderer, and the partner in charge at least 40 percent of those minimum criteria. Failure to comply with this requirement will result in rejection of the joint venture’s tender. Subcontractors’ experience and resources will not be taken into account in determining the tenderer’s compliance with the qualifying criteria, unless otherwise stated.

1.9     Each tenderer shall submit only one tender, either individually or as a partner in a joint venture.  A tenderer who submits or participates in more than one tender (other than as a subcontractor or in cases of alternatives that have been permitted or requested) will cause all the proposals with the tenderer’s participation to be disqualified.

1.10   The tenderer shall bear all costs associated with the preparation and submission of his tender, and the Employer will in no case be responsible or liable for those costs.

1.11   The  tenderer,  at  the  tenderer’s  own  responsibility  and  risk,  is encouraged to visit and examine the Site of the Works and its surroundings, and obtain all information that may be necessary for preparing the tender and entering into a contract for construction of the Works.  The costs of visiting the Site shall be at the tenderer’s own expense.

1.12   The procuring entity’s employees, committee members, board members and their relative (spouse and children) are not eligible to participate in the tender.

1.13   The price to be changed for the tender document shall not exceed

Kshs.1,000/=

1.14   The procuring entity shall allow the tenderer to review the tender document free of charge before purchase.

2.       Tender Documents

2.1 The complete set of tender documents comprises the documents listed below and any addenda issued in accordance with Clause 2.4.

(a)     These Instructions to Tenderers

(b)     Form of Tender and Qualification Information

(c)     Conditions of Contract

(d)     Appendix to Conditions of Contract

(e)     Specifications

(f)      Drawings

(g)     Bills of Quantities

(h)     Forms of Securities

2.2   The tenderer shall examine all Instructions, Forms to be filled and Specifications in the tender documents. Failure to furnish all information required by the tender documents, or submission of a tender not substantially responsive to the tendering documents in every respect will be at the tenderer’s risk and may result in rejection of his tender.

2.3    A prospective tenderer making an inquiry relating to the tender documents may notify the Employer in writing or by cable, telex or facsimile at the address indicated in the letter of invitation to tender. The Employer will only respond to requests for clarification received earlier than seven days prior to the deadline for submission of tenders. Copies of the Employer’s response will be forwarded to all persons issued with tendering documents, including a description of the inquiry, but without identifying its source.

2.4     Before the deadline for submission of tenders, the Employer may modify the tendering documents by issuing addenda.  Any addendum thus issued shall be part of the tendering documents and shall be communicated in writing or by cable, telex or facsimile to all tenderers. Prospective tenderers shall acknowledge receipt of each addendum in writing to the Employer.

2.5    To give prospective tenderers reasonable time in which to take an addendum into account in preparing their tenders, the Employer shall extend, as necessary, the deadline for submission of tenders, in accordance with Clause 4.2 here below.

3.       Preparation of Tenders

3.1 All documents relating to the tender and any correspondence shall be in

English language.

3.2     The tender submitted by the tenderer shall comprise the following:

These Instructions to Tenderers, Form of Tender, Conditions of Contract, Appendix to Conditions of Contract and Specifications;

Tender Security;

Priced Bill of Quantities;

Qualification Information Form and Documents;

Alternative offers where invited; and

(f)	Any other materials required to be completed and submitted by the tenderers.

3.3     The tenderer shall fill in rates and prices for all items of the Works described in the Bill of Quantities.  Items for which no rate or price is entered by the tenderer will not be paid for when executed and shall be deemed covered by the other rates and prices in the Bill of Quantities. All duties, taxes, and other levies payable by the Contractor under the Contract, or for any other cause relevant to the Contract, as of 30 days prior to the deadline for submission of tenders, shall be included in the tender price submitted by the tenderer.

3.4     The rates and prices quoted by the tenderer shall only be subject to adjustment during the performance of the Contract if provided for in the Appendix to Conditions of Contract and provisions made in the Conditions of Contract.

3.5     The unit rates and prices shall be in Kenya Shillings.

3.6    Tenders shall remain valid for a period of ninety (90) days from the date of submission.  However in exceptional circumstances, the Employer may request that the tenderers extend the period of validity for a specified additional period.  The request and the tenderers’ responses shall be made in writing.  A tenderer may refuse the request without forfeiting the Tender Security.  A tenderer agreeing to the request will not be required or permitted to otherwise modify the tender, but will be required to extend the validity of Tender Security for the period of the extension, and in compliance with Clause 3.7 - 3.11 in all respects.

3.7     The tenderer shall furnish, as part of the tender, a Tender Security in the amount and form specified in the appendix to invitation to tenderers. This shall be in the amount not exceeding 2 percent of the tender price

3.8     The format of the Tender Security should be in accordance with the form of Tender Security included in Section G - Standard forms or any other form acceptable to the Employer. Tender Security shall be valid for 30 days beyond the validity of the tender.

3.9     Any tender not accompanied by an acceptable Tender Security shall be rejected.    The  Tender  Security  of  a  joint  venture  must  define  as “Tenderer” all joint venture partners and list them in the following manner:  a joint venture consisting of”…………”,”…………”,and “…………”.

3.10   The Tender Securities of unsuccessful tenderers will be returned within 28 days of the end of the tender validity period specified in Clause 3.6.

3.11   The Tender Security of the successful tenderer will be discharged when the tenderer has signed the Contract Agreement and furnished the required Performance Security.

3.12   The Tender Security may be forfeited

(a)	if the tenderer withdraws the tender after tender opening during the period of tender validity;

(b)     if the tenderer does not accept the correction of the tender price, pursuant to Clause 5.7;

(c)	in the case of a successful tenderer, if the tenderer fails within the specified time limit to

(i)      sign the Agreement, or

(ii)     furnish the required Performance Security.

3.13   Tenderers shall submit offers that comply with the requirements of the tendering documents, including the basic technical design as indicated in the Drawings and Specifications. Alternatives will not be considered, unless specifically allowed in the invitation to tender.  If so allowed, tenderers wishing to offer technical alternatives to the requirements of the tendering documents must also submit a tender that complies with the requirements of the tendering documents, including the basic technical design as indicated in the Drawings and Specifications.  In addition to submitting the basic tender, the tenderer shall provide all information necessary for a complete evaluation of the alternative, including design calculations, technical specifications, breakdown of prices, proposed construction methods and other relevant details. Only the technical alternatives, if any, of   the lowest evaluated tender conforming to the basic technical requirements shall be considered.

3.14   The tenderer shall prepare one original of the documents comprising the tender documents as described in Clause 3.2 of these Instructions to Tenderers, bound with the volume containing the Form of Tender, and clearly marked “ORIGINAL”.  In addition, the tenderer shall submit copies of the tender, in the number specified in the invitation to tender, and clearly marked as “COPIES”. In the event of discrepancy between them, the original shall prevail.

3.15   The original and all copies of the tender shall be typed or written in indelible ink and shall be signed by a person or persons duly authorised to sign on behalf of the tenderer, pursuant to Clause 1.5 (a) or 1.6 (b), as the case may be.   All pages of the tender where alterations or additions have been made shall be initialled by the person or persons signing the tender.

3.16   Clarification of tenders shall be requested by the tenderer to be received by the procuring entity not later than 7 days prior to the deadline for submission of tenders.

3.17   The procuring entity shall reply to any clarifications sought by the tenderer within 3 days of receiving the request to enable the tenderer to make timely submission of its tender.

3.18   The tender security shall be in the amount of 2% per cent of the tender price.

4.       Submission of Tenders

4.1 The tenderer shall seal the original and all copies of the tender in two inner envelopes and one outer envelope, duly marking the inner envelopes as

“ORIGINAL” and “COPIES” as appropriate.   The inner and outer envelopes shall:

(a)	be addressed to the Employer at the address provided in the invitation to tender;

(b)     bear the name and identification number of the Contract  as defined in the invitation to tender; and

(c)	provide a warning not to open before the specified time and date for tender opening.

4.2     Tenders shall be delivered to the Employer at the address specified above not later than the time and date specified in the invitation to tender. However, the Employer may extend the deadline for submission of tenders by issuing an amendment in accordance with Sub-Clause 2.5 in which case all rights and obligations of the Employer and the tenderers previously subject to the original deadline will then be subject to the new deadline.

4.3     Any tender received after the deadline prescribed in clause 4.2 will be returned to the tenderer un-opened.

4.4     Tenderers may modify or withdraw their tenders by giving notice in writing before the deadline prescribed in clause 4.2.  Each tenderer’s modification or withdrawal notice shall be prepared, sealed, marked, and delivered in accordance with clause 3.13 and 4.1, with the outer and inner envelopes additionally marked “MODIFICATION” and “WITHDRAWAL”, as appropriate.  No tender may be modified after the deadline for submission of tenders.

4.5     Withdrawal of a tender between the deadline for submission of tenders and the expiration of the period of tender validity specified in the invitation to tender or as extended pursuant to Clause 3.6 may result in the forfeiture of the Tender Security pursuant to Clause 3.11.

4.6     Tenderers may only offer discounts to, or otherwise modify the prices of their tenders by submitting tender modifications in accordance with Clause 4.4 or be included in the original tender submission.

5.       Tender Opening and Evaluation

5.1   The tenders will be opened by the Employer, including modifications made  pursuant  to  Clause  4.4,  in  the  presence  of  the  tenderers’ representatives who choose to attend at the time and in the place specified in the invitation to tender.  Envelopes marked “WITHDRAWAL” shall be opened and read out first. Tenderers’ and Employer’s representatives who are present during the opening shall sign a register evidencing their attendance.

5.2 The tenderers’ names, the tender prices, the total amount of each tender and of any alternative tender (if alternatives have been requested or permitted), any discounts, tender modifications and withdrawals, the presence or absence of Tender Security, and such other details as may be considered appropriate, will be announced by

the Employer at the opening. Minutes of the tender opening, including the information disclosed to those present will be prepared by the Employer.

5.3  Information relating to the examination, clarification, evaluation, and comparison of tenders and recommendations for the award of Contract shall not be disclosed to tenderers or any other persons not officially concerned with such process until the award to the successful tenderer has been announced.   Any effort by a tenderer to influence the Employer’s officials, processing of tenders or award decisions may result in the rejection of his tender.

5.4 To assist in the examination, evaluation, and comparison of tenders, the Employer at his discretion, may ask any tenderer for clarification of the tender, including breakdowns of unit rates. The request for clarification and the response shall be in writing or by cable, telex or facsimile but no change in the price or substance of the tender shall be sought, offered, or permitted except as required to confirm the correction of arithmetic errors discovered in the evaluation of the tenders in accordance with Clause 5.7.

5.5    Prior to the detailed evaluation of tenders, the Employer will determine whether each tender (a) meets the eligibility criteria defined  in Clause 1.7;(b) has been properly signed; (c) is accompanied by the required securities; and (d) is substantially responsive to the requirements of the tendering documents.  A substantially responsive tender is one which conforms to all the terms, conditions and specifications of the tendering documents, without material deviation or reservation.   A material deviation or reservation is one (a) which affects in any substantial way the scope, quality, or performance of the works; (b) which limits in any substantial way, inconsistent with the tendering documents, the Employer’s rights or the tenderer’s obligations under the Contract; or (c) whose rectification would affect unfairly the competitive position of other tenderers presenting substantially responsive tenders.

5.6 If a tender is not substantially responsive, it will be rejected, and may not subsequently be made responsive by correction or withdrawal of the nonconforming deviation or reservation.

5.7 Tenders determined to be substantially responsive will not be checked for any arithmetic errors. Errors will not be corrected as follows:

(a)	where there is a discrepancy between the amount in figures and the amount in words, the amount in words will prevail; and

(b)     where there is a discrepancy between the unit rate and the line item total resulting from multiplying the unit rate by the quantity, the unit rate as quoted will prevail, unless in the opinion of the Employer, there is an obvious typographical error, in which case the adjustment will be made to the entry containing that error.

(c)	In the event of a discrepancy between the tender amount as stated in the Form of Tender and the corrected tender figure in the main summary of the Bill of Quantities, the amount as stated in the Form of Tender shall prevail.

(d)     The Error Correction Factor shall be computed by expressing the difference between the tender amount and the corrected tender sum as a percentage of the corrected Builder’s Work (i.e. Corrected tender sum less P.C. and Provisional Sums)

(e)	The Error Correction Factor shall be applied to all Builder’s Work (as a rebate or addition as the case may be) for the purposes of valuations for Interim Certificates and valuation of variations.

(f)	the amount stated in the tender will be adjusted in accordance with the above procedure for the correction of errors and, with

concurrence of the tenderer, shall be considered as binding upon the tenderer.   If the tenderer does not accept the corrected amount, the tender may be rejected and the Tender Security may be forfeited in accordance with clause 3.11.

5.8   The Employer will evaluate and compare only the tenders determined to be substantially responsive in accordance with Clause 5.5.

5.9   The Employer reserves the right to accept or reject any variation, deviation, or alternative offer.  Variations, deviations, and alternative offers and other factors which are in excess of the requirements of the tender documents or otherwise result in unsolicited benefits for the Employer will not be taken into account in tender evaluation.

5.10   The tenderer shall not influence the Employer on any matter relating to his tender from the time of the tender opening to the time the Contract is awarded.  Any effort by the Tenderer to influence the Employer or his employees in his decision on tender evaluation, tender comparison or Contract award may result in the rejection of the tender.

5.11   Firms incorporated in Kenya where indigenous Kenyans own 51% or more of the share capital shall be allowed a 10% preferential bias provided that they do not sub-contract work valued at more than 50% of the Contract Price excluding Provisional Sums to a non-indigenous sub-contractor.

6.       Award of Contract

6.1 Subject to Clause 6.2, the award of the Contract will be made to the tenderer whose tender has been determined to be substantially responsive to the tendering documents and who has offered the lowest evaluated tender price, provided that such tenderer has been determined to be (a) eligible in accordance with the provision of Clauses 1.2, and (b) qualified in accordance with the provisions of clause 1.7 and 1.8.

6.2 Notwithstanding clause 6.1 above, the Employer reserves the right to accept or reject any tender, and to cancel the tendering process and reject all tenders, at any time prior to the award of Contract, without thereby incurring any liability to the affected tenderer or tenderers or any obligation to inform the affected tenderer or tenderers of the grounds for the action.

6.3 The tenderer whose tender has been accepted will be notified of the award prior to expiration of the tender validity period in writing or by cable, telex or facsimile. This notification (hereinafter and in all Contract documents called the “Letter of Acceptance”) will state the sum (hereinafter and in all Contract documents called the “Contract Price”) that the Employer will pay the Contractor in consideration of the execution, completion, and maintenance of the Works by the Contractor as prescribed by the Contract. At the same time the other tenderers shall be informed that their tenders have not been successfull.

The contract shall be formed on the parties signing the contract.

6.4 The Agreement will incorporate all agreements between the Employer and the successful  tenderer.    Within  14  days  of receipt  the successful tenderer will sign the Agreement and return it to the Employer.

6.5    Within 21 days after receipt of the Letter of Acceptance, the successful tenderer shall deliver to the Employer a Performance Security in the amount stipulated in the Appendix to Conditions of Contract and in the form stipulated in the Tender documents. The Performance Security shall be in the amount and specified form 6.6 Failure of the successful tenderer to comply with the requirements of clause 6.5 shall constitute sufficient grounds for cancellation of the award and forfeiture of the Tender Security.

6.7   Upon the furnishing by the successful tenderer of the Performance Security, the Employer will promptly notify the other tenderers that their tenders have been unsuccessful.

6.8    Preference where allowed in the evaluation of tenders shall not be allowed for contracts not exceeding one year (12 months)

6.9    The tender evaluation committee shall evaluate the tender within 30 days of the validity period from the date of opening the tender.

6.10  The parties to the contract shall have it signed within 30 days from the date of notification of contract award unless there is an administrative review request.

6.11   Contract price variations shall not be allowed for contracts not exceeding one year (12 months)

6.12    Where contract price variation is allowed, the valuation shall not exceed 15% of the     original contract price.

6.13 Price variation request shall be processed by the procuring entity within 30 days of receiving the request.

6.14 The procuring entity may at any time terminate procurement proceedings before contract award and shall not be liable to any person for the termination.

6.15 The procuring entity shall give prompt notice of the termination to the tenderers and on request give its reasons for termination within 14 days of receiving the request from any tenderer.

6.16 A tenderer who gives false information in the tender document about its qualification or who refuses to enter into a contract after notification of contract award shall be considered for debarment from participating in future public procurement.

7.       Corrupt and Fraudulent practices

7.1     The procuring entity requires that tenderers observe the highest standards of ethics during procurement process and execution of contracts. A tenderer shall sign a declaration that he has not and will not be involved in corrupt and fraudulent practices.

7.2   The Procuring entity will reject a proposal for award if it determines that the tenderer recommended for award has engaged in corrupt or fraudulent practices in competing for the contract in question.

7.3     Further a tenderer who is found to have indulged in corrupt or fraudulent practices risks being debarred from participating in public Procurement in Kenya.

APPENDIX TO INSTRUCTIONS TO TENDERERS

The following information regarding the particulars of the tender shall complement supplement or amend the provisions of the instructions to tenderers. Wherever there is a conflict between the provision of the instructions to tenderers and the provisions of the appendix, the provisions of the appendix herein shall prevail over those of the instructions to tenderers.

| 1.1.1 | The Employer is the procuring entity, Jaramogi Oginga Odinga University of Science and Technology |
| --- | --- |
| 1.4 | The tender is open to firms registered under NCA 7 |
| 3.3 | The tenderer shall fill in rates and prices for all items of the Works described in the Bill of Quantities. |
| 3.5 | Price shall be quoted in Kenya shillings or other easily convertible currency. |
| 3.6 | Tenders shall remain valid for a period of ninety (90) days from the date of opening. |
| 3.7 | Tender security required of 2% in form of a bank guarantee or a banker’s cheque from a reputable bank in Kenya or insurance firm approved by PPRA valid for 120 days from the date of closing the tender. |
| 4.1 | The bidder shall provide 1 original copy of the document and 1 other copy and be marked as copy and placed in one envelope. Tender reference and closing date must be quoted on the envelope. |
| 4.2 | Deadline for Submission of Tenders Closing Date: Thursday, 30th November 2017 at 10:00am |
| 5.5 – 5.8 | Evaluation of the tenders shall be done using the criteria set out in this document. |
| 6.5 | The successful bidder shall be expected to provide a performance security of 10% of the contract value. |
| 7.1 | Anti-corruption Affidavit Jaramogi Oginga Odinga University of Science and Technology will require a contractors to swear an affidavit to the effect they will not have offered or been requested to pay an inducement to a member Management and/or Staff of Jaramogi Oginga Odinga University of Science and Technology to influence the outcome of the bid. |
| SUBMISSION OF BIDS FORMAT | The tenderer shall seal the original and one copy of the tender in two inner envelopes and one outer envelope, duly marking the inner envelopes as “ORIGINAL” and “COPY” as appropriate. The inner and outer envelopes shall be addressed to the Employer at the address provided in the invitation to tender; bear the name and identification number of the Contract as defined in the invitation to tender; and provide a warning not to open before the specified time and date for tender opening. |

SECTION III                      CONDITIONS OF CONTRACT

Table of Contents

| 1 | Definitions ………………………………………………… | 15 |
| --- | --- | --- |
| 2 | Interpretation……………………………………………… | 17 |
| 3 | Language and Law ………………………………………… | 17 |

| 4 | Project Manager’s Decisions……………………………… | 17 |  |
| --- | --- | --- | --- |
| 5 | Delegation………………………………………………… | 18 |  |
| 6 | Communications ………………………………………… | 18 |  |
| 7 | Sub-Contracting ………………………………………… | 18 |  |
| 8 | Other Contractors ………………………………………… 18 |  |  |
| 9 | Personnel ………………………………………………… | 18 |  |
| 10 | Works……………………………………………………… | 19 |  |
| 11 | Safety and temporary works ……………………………… | 19 |  |
| 12 | Discoveries ………………………………………………… | 19 |  |
| 13 | Work Programme ………………………………………… | 19 -20 |  |
| 14 | Possession of site ………………………………………… | 20 |  |
| 15 | Access to site …………………………………………… | 20 |  |
| 16 | Instructions ……………………………………………… | 20 |  |
| 17 | Extension or Acceleration of completion date …………….. 20 |  |  |
| 18 | Management Meetings ………………………………… 21 |  |  |
| 19 | Early Warning …………………………………………… | 21 |  |
| 20 | Defects …………………………………………………… | 21 - 22 |  |
| 21 | Bills of Quantities ………………………………………… | 22 |  |
| 22 | Variations ………………………………………………… | 22- 23 |  |
| 23 | Payment certificates, currency of payments and |  |  |
|  | Advance Payments ……………………………………… | 23 |  |
| 24 | Compensation events …………………………………… | 25 - 27 |  |
| 25 | Price Adjustment ………………………………………… | 27 - 29 |  |
|  | Retention ………………………………………………… | 29 |  |
| 27 | Liquidated Damages……………………………………… | 29 |  |
| 28 | Securities ………………………………………………… | 29 |  |

| 29 | Day Works ……………………………………………… | 29 - 30 |
| --- | --- | --- |
| 30 | Liability and Insurance …………………………………… | 30 - 31 |
| 31 | Completion and taking over ……………………………… | 31 |
| 32 | Final Account …………………………………………… | 31 |
| 33 | Termination ……………………………………………… | 31 - 32 |
| 34 | Payment upon termination ………………………………… | 32 - 33 |
| 35 | Release from performance ………………………………… | 33 |
| 36 | Corrupt gifts and payments of commission ……………… | 33 - 34 |
| 37 | Settlement of Disputes ……………………………………… | 34 - 36 |

CONDITIONS OF CONTRACT

1.       Definitions

1.1 In this Contract, except where context otherwise requires, the following terms shall be interpreted as indicated;

“Bill of Quantities” means the priced and completed Bill of Quantities forming part of the tender.

“Compensation Events” are those defined in Clause 24 hereunder.

“The Completion Date” means the date of completion of the Works as certified by the Project Manager, in accordance with Clause 31.

“The Contract” means the agreement entered into between the Employer and the Contractor as recorded in the Agreement Form and signed by the parties including all attachments and appendices thereto and all documents incorporated by reference therein to execute, complete, and maintain the Works,

“The Contractor” refers to the person or corporate body whose tender to carry out the Works has been accepted by the Employer.

“The Contractor’s Tender” is the completed tendering document submitted by the Contractor to the Employer.

“The Contract Price” is the price stated in the Letter of Acceptance and thereafter as adjusted in accordance with the provisions of the Contract.

“Days” are calendar days; “Months” are calendar months.

“A Defect” is any part of the Works not completed in accordance with the

Contract.

“The  Defects  Liability  Certificate”  is  the  certificate  issued  by  Project

Manager upon correction of defects by the Contractor.

“The Defects Liability Period” is the period named in the Contract Data and calculated from the Completion Date.

“Drawings” include calculations and other information provided or approved by the Project Manager for the execution of the Contract.

“Dayworks” are Work inputs subject to payment on a time basis for labour and the associated materials and plant.

“Employer”, or the “Procuring entity” as defined in the Public Procurement Regulations (i.e. Central or Local Government administration, Universities, Public Institutions and Corporations, etc) is the party who employs the Contractor to carry out the Works.

“Equipment” is the Contractor’s machinery and vehicles brought temporarily

to the Site for the execution of the Works.

“The Intended Completion Date” is the date on which it is intended that the Contractor shall complete the Works.  The Intended Completion Date may be revised only by the Project Manager by issuing an extension of time or an acceleration order.

“Materials” are all supplies, including consumables, used by the Contractor for incorporation in the Works.

“Plant” is any integral part of the Works that shall have a mechanical, electrical, chemical, or biological function.

“Project Manager” is the person named in the Appendix to Conditions of Contract (or any other competent person appointed by the Employer and notified to the Contractor, to act in replacement of the Project Manager) who is responsible for supervising the execution of the Works and administering the Contract and shall be an

“Architect” or a “Quantity Surveyor” registered under the Architects and Quantity Surveyors Act Cap 525 or an “Engineer” registered under Engineers Registration Act Cap 530.

“Site” is the area defined as such in the Appendix to Condition of Contract.

“Site Investigation Reports” are those reports that may be included in the tendering documents which are factual and interpretative about the surface and subsurface conditions at the Site.

“Specifications” means the Specifications of the Works included in the Contract and any modification or addition made or approved by the Project Manager.

“Start Date” is the latest date when the Contractor shall commence execution of the Works.   It does not necessarily coincide with the Site possession date(s).

“A Subcontractor” is a person or corporate body who has a Contract with the Contractor to carry out a part of the Work in the Contract, which includes Work on the Site.

“Temporary works” are works designed, constructed, installed, and removed by the Contractor which are needed for construction or installation of the Works.

“A Variation” is an instruction given by the Project Manager which varies the Works.

“The Works” are what the Contract requires the Contractor to construct, install, and turnover to the Employer, as defined in the Appendix to Conditions of Contract.

2.       Interpretation

2.1 In interpreting these Conditions of Contract, singular also means plural, male also means female or neuter, and the other way around.  Headings have no significance.  Words have their normal meaning in English Language unless specifically defined. The Project Manager will provide instructions clarifying queries about these Conditions of Contract.

2.2 If sectional completion is specified in the Appendix to Conditions of Contract, reference in the Conditions of Contract to the Works, the Completion Date and the Intended Completion Date apply to any section of the Works (other than references to the Intended Completion Date for the whole of the Works).

2.3 The following documents shall constitute the Contract documents and shall be interpreted in the following order of priority;

(1)     Agreement,

(2)     Letter of Acceptance,

(3)     Contractor’s Tender,

(4)     Appendix to Conditions of Contract,

(5)     Conditions of Contract,

(6)     Specifications,

(7)     Drawings,

(8)     Bill of Quantities,

(9)     Any other documents listed in the Appendix to Conditions of Contract as forming part of the Contract.

Immediately after the execution of the Contract, the Project Manager shall furnish both the Employer and the Contractor with two copies each of all the Contract documents. Further, as and when necessary the Project Manager shall furnish the Contractor [always with a copy to the Employer] with three [3] copies of such further drawings or details or descriptive schedules as are reasonably necessary either to explain or amplify the Contract drawings or to enable the Contractor to carry out and complete the Works in accordance wih these Conditions.

3.     Language and Law

3.1 Language of the Contract and the law governing the Contract shall be English language and the Laws of Kenya respectively unless otherwise stated.

4 Project Manager’s Decisions

4.1 Except where otherwise specifically stated, the Project Manager will decide contractual matters between the Employer and the Contractor in the role representing the Employer.

5 Delegation

5.1 The Project Manager may delegate any of his duties and responsibilities to others after notifying the Contractor.

6 Communications

6.1 Communication between parties shall be effective only when in writing.   A

notice shall be effective only when it is delivered.

7 Subcontracting

7.1 The Contractor may subcontract with the approval of the Project Manager, but may not assign the Contract without the approval of the Employer in writing.  Subcontracting shall not alter the Contractor’s obligations.

8 Other Contractors

8.1 The Contractor shall cooperate and share the Site with other contractors, public authorities, utilities etc. as listed in the Appendix to Conditions of Contract and also with the Employer, as per the directions of the Project Manager.   The Contractor shall also provide facilities and services for them.  The Employer may modify the said List of Other Contractors etc., and shall notify the Contractor of any such modification.

9 Personnel

9.1       The Contractor shall employ the key personnel named in the Qualification Information, to carry out the functions stated in the said Information or other personnel approved by the Project Manager. The Project  Manager  will  approve  any  proposed  replacement  of  key personnel  only  if  their  relevant  qualifications  and  abilities  are substantially equal to or better than those of the personnel listed in the Qualification Information.  If the Project Manager asks the Contractor to remove a person who is a member of the Contractor’s staff or work

force, stating the reasons, the Contractor shall ensure that the person leaves the Site within seven days and has no further connection with the Work in the Contract.

10 Works

10.1 The Contractor shall construct and install the Works in accordance with the Specifications and Drawings.  The Works may commence on the Start Date and shall be carried out in accordance with the Program submitted by the Contractor, as updated with the approval of the Project Manager, and complete them by the Intended Completion Date.

11 Safety and Temporary Works

11.1 The Contractor shall be responsible for the design of temporary works.

However before erecting the same, he shall submit his designs including specifications and drawings to the Project Manager and to

any other relevant third parties for their approval.   No erection of temporary works shall be done until such approvals are obtained.

11.2 The Project Manager’s approval shall not alter the Contractor’s responsibility for design of the Temporary works and all drawings prepared  by the  Contractor  for  the  execution  of  the  temporary or permanent Works, shall be subject to prior approval by the Project Manager before they can be used.

11.3 The Contractor shall be responsible for the safety of all activities on the

Site.

12.     Discoveries

12.1 Anyth ing of historical or other interest or of significant value unexpectedly discovered on Site shall be the property of the Employer. The Contractor shall notify the Project Manager of such discoveries and carry out the Project Manager’s instructions for dealing with them.

13. Work Program

13.1 Within the time stated in the Appendix to Conditions of Contract, the Contractor shall submit to the Project Manager for approval a program showing the general methods, arrangements, order, and timing for all the activities in the Works. An update of the program shall be a program showing the actual progress achieved on each activity and the effect of the progress achieved on the timing of the remaining Work, including any changes to the sequence of the activities.

The Contractor shall submit to the Project Manager for approval an updated program at intervals no longer than the period stated in the Appendix to Conditions of Contract. If the Contractor does not submit an updated program within this period, the Project Manager may withhold the amount stated in the said Appendix from the next payment certificate and continue to withhold this amount until the next payment after the date on which the overdue program has been submitted.  The Project Manager’s approval of the program shall not alter the Contractor’s obligations.  The Contractor may revise the program and submit it to the Project Manager again at any time. A revised program shall show the effect of Variations and Compensation Events.

14. Possession of Site

14.1  The Employer shall give possession of all parts of the Site to the Contractor. If possession of a part is not given by the date stated in the Appendix to Conditions of Contract, the Employer will be deemed to have delayed the start of the relevant activities, and this will be a Compensation Event.

15. Access to Site

15.1 The Contractor shall allow the Project Manager and any other person authorized by the Project Manager, access to the Site and to any place where work in connection with the Contract is being carried out or is intended to be carried out.

16. Instructions

16.1 The Contractor shall carry out all instructions of the Project Manager which are in accordance with the Contract.

17. Extension or Acceleration of Completion Date

17.1 The Project Manager shall extend the Intended Completion Date if a Compensation Event occurs or a variation is issued which makes it impossible for completion to be achieved by the Intended Completion Date without the Contractor taking steps to accelerate the remaining Work, which would cause the Contractor to incur additional cost. The Project Manager shall decide whether and by how much to extend the Intended Completion Date within 21 days of the Contractor asking the Project Manager in writing for a decision upon the effect of a Compensation Event or variation and submitting full supporting information.  If the Contractor has failed to give early warning of a delay or has failed to cooperate in dealing with a delay, the delay caused by such failure shall not be considered in assessing the new (extended) Completion Date.

17.2  No  bonus  for early completion  of the  Works  shall  be paid  to  the

Contractor by the Employer.

18. Management Meetings

18.1 A Contract management meeting shall be held monthly and attended by the Project Manager and the Contractor. Its business shall be to review the plans for the remaining Work and to deal with matters

raised in accordance with the early warning procedure.  The Project Manager shall record the minutes of management meetings and provide copies of the same to those attending the meeting and the Employer. The responsibility of the parties for actions to be taken shall be decided by the Project Manager either at the management meeting or after the management meeting and stated in writing to all who attended the meeting.

19. Early Warning

19.1 The Contractor shall warn the Project Manager at the earliest opportunity of specific likely future events or circumstances that may adversely affect the quality of the Work, increase the Contract Price or delay the execution of the Works.   The Project Manager may require the Contractor to provide an estimate of the expected effect of the future event or circumstance on the Contract Price and Completion Date. The estimate shall be provided by the Contractor as soon as reasonably possible.

19.2 The Contractor shall cooperate with the Project Manager in making and considering proposals on how the effect of such an event or circumstance can be avoided or reduced by anyone involved in the Work and in carrying out any resulting instructions of the Project Manager.

20. Defects

20.1 The Project Manager shall inspect the Contractor’s work and notify the Contractor of any defects that are found.   Such inspection shall not affect the Contractor’s responsibilities.   The Project Manager may instruct the Contractor to search for a defect and to uncover and test any Work that the Project Manager considers may have a defect.  Should the defect be found, the cost of uncovering and making good shall be borne by the Contractor, However, if there is no defect found, the cost of uncovering and making good shall be treated as a variation and added to the Contract Price.

20.2 The Project Manager shall give notice to the Contractor of any defects before the end of the Defects Liability Period, which begins at Completion, and is defined in the Appendix to Conditions of Contract. The Defects Liability Period shall be extended for as long as defects remain to be corrected.

20.3 Every time notice of a defect is given, the Contractor shall correct the notified defect within the length of time specified by the Project Manager’s notice.  If the Contractor has not corrected a defect within the time specified in the Project Manager’s notice, the Project Manager will assess the cost of having the defect corrected by other parties and such cost shall be treated as a variation and be deducted from the

Contract Price.

21. Bills Of Quantities

21.1 The Bills of Quantities shall contain items for the construction, installation, testing and commissioning of the Work to be done by the Contractor.  The Contractor will be paid for the quantity of the Work done at the rate in the Bills of Quantities for each item.

21.2 If the final quantity of the Work done differs from the quantity in the Bills of Quantities for the particular item by more than 25 percent and provided the change exceeds 1 percent of the Initial Contract price, the Project Manager shall adjust the rate to allow for the change.

21.3 If requested by the Project Manager, the Contractor shall provide the Project Manager with a detailed cost breakdown of any rate in the Bills of Quantities.

22. Variations

22.1 All variations shall be included in updated programs produced by the

Contractor.

22.2 The Contractor shall provide the Project Manager with a quotation for carrying out the variations when requested to do so.   The Project Manager shall assess the quotation, which shall be given within seven days of the request or within any longer period as may be stated by the Project Manager and before the Variation is ordered.

22.3 If the work in the variation corresponds with an item description in the Bills of Quantities and if in the opinion of the Project Manager, the quantity of work is not above the limit stated in Clause 21.2 or the timing of its execution does not cause the cost per unit of quantity to change, the rate in the Bills of Quantities shall be used to calculate the value of the variation. If the cost per unit of quantity changes, or if the nature or timing of the work in the variation does not correspond with items in the Bills of Quantities, the quotation by the Contractor shall be in the form of new rates for the relevant items of Work.

22.4 If the Contractor’s quotation is unreasonable, the Project Manager may order the variation and make a change to the Contract price, which shall be based on the Project Manager’s own forecast of the effects of the variation on the Contractor’s costs.

22.5 If the Project Manager decides that the urgency of varying the Work would prevent a quotation being given and considered without delaying the Work, no quotation shall be given and the variation shall be treated as a Compensation Event.

22.6 The Contractor shall not be entitled to additional payment for costs that could have been avoided by giving early warning.

22.7 When the Program is updated, the Contractor shall provide the Project

Manager with an updated cash flow forecast.

23. Payment Certificates, Currency of Payments and Advance Payments

23.1 The Contractor shall submit to the Project Manager monthly applications for payment giving sufficient details of the Work done and materials on Site and the amounts which the Contractor considers himself to be entitled to. The Project Manager shall check the monthly application and certify the amount to be paid to the Contractor within 14 days. The value of Work executed and payable shall be determined by the Project Manager.

23.2 The value of Work executed shall comprise the value of the quantities of the items in the Bills of Quantities completed, materials delivered on Site, variations and compensation events.  Such materials shall become the property of the Employer once the Employer has paid the Contractor for their value. Thereafter, they shall not be removed from Site without the Project Manager’s instructions except for use upon the Works.

23.3 Payments shall be adjusted for deductions for retention.  The Employer shall pay the Contractor the amounts certified by the Project Manager within 30 days of the date of issue of each certificate.  If the Employer makes a late payment, the Contractor shall be paid simple interest on the late payment in the next payment. Interest shall be calculated on the basis of number of days delayed at a rate three percentage points above the Central Bank of Kenya’s average rate for base lending prevailing as of the first day the payment becomes overdue.

23.4 If an amount certified is increased in a later certificate or as a result of an award by an Arbitrator, the Contractor shall be paid interest upon the delayed payment as set out in this clause.  Interest shall be calculated from the date upon which the increased amount would have been certified in the absence of dispute.

23.5 Items of the Works for which no rate or price has been entered in will not be paid for by the Employer and shall be deemed covered by other rates and prices in the Contract.

23.6 The Contract Price shall be stated in Kenya Shillings.  All payments to the Contractor shall be made in Kenya Shillings and foreign currency in the proportion indicated in the tender, or agreed prior to the execution of the Contract Agreement and indicated therein. The rate of exchange for the calculation of the amount of foreign currency payment shall be the rate of exchange indicated in the Appendix to Conditions of Contract.  If the Contractor indicated foreign currencies for payment other than the currencies of the countries of origin of related goods and services the Employer reserves the right to pay the equivalent at the time of payment in the currencies of the countries of such goods and services.   The Employer and the Project Manager shall be notified promptly by the Contractor of an changes in the expected foreign currency requirements of the Contractor during the execution of the Works as indicated in the Schedule of Foreign Currency Requirements and  the foreign  and local  currency portions  of the balance of the Contract Price shall then be amended by agreement between Employer and the Contractor in order to reflect appropriately such changes.

23.7 In the event that an advance payment is granted, the following shall apply:-

a)	On signature of the Contract, the Contractor shall at his request, and without furnishing proof of expenditure, be entitled to an advance of 10% (ten percent) of the original amount of the Contract. The advance shall not be subject to retention money.

b)	No advance payment may be made before the Contractor has submitted proof of the establishment of deposit or    a directly liable guarantee satisfactory to the Employer in the amount of the advance payment.  The guarantee shall be in the same currency as the advance.

c)	Reimbursement of the lump sum advance shall be made by deductions from the Interim payments and where applicable from the balance owing to the Contractor. Reimbursement shall begin when the amount of the sums due under the Contract reaches

20% of the original amount of the Contract.  It shall have been completed by the time 80% of this amount is reached.

The amount to be repaid by way of successive deductions shall be calculated by means of the formula:

R       =        A(x1  – x11)

Where:

80 – 20

R       =       the amount to be reimbursed

A       =       the amount of the advance which has been granted

X1               = the amount of proposed cumulative payments as a percentage of the original amount of the Contract. This figure will exceed 20% but not exceed 80%.

X11          = the amount of the previous cumulative payments as a percentage of the original amount of the Contract. This figure will be below 80%but not less than 20%.

d) with each reimbursement the counterpart of the directly liable guarantee may be reduced accordingly.

24. Compensation Events

24.1 The following issues shall constitute Compensation Events:

(a)	The Employer does not give access to a part of the Site by the Site Possession Date stated in the Appendix to Conditions of Contract.

(b)     The Employer modifies the List of Other Contractors, etc., in a way that affects the Work of the Contractor under the Contract.

(c)	The Project Manager orders a delay or does not issue drawings, specifications or instructions required for execution of the Works on time.

(d)     The Project Manager instructs the Contractor to uncover or to carry out additional tests upon the Work, which is then found to have no defects.

(e)	The   Project   Manager   unreasonably   does   not   approve   a subcontract to be let.

(f)	Ground conditions are substantially more adverse than could reasonably have been assumed before issuance of the Letter of Acceptance from the information issued to tenderers (including the Site investigation reports), from information available publicly and from a visual inspection of the Site.

(g)     The Project Manager gives an instruction for dealing with an unforeseen condition, caused by the Employer or additional work required for safety or other reasons.

(h)     Other contractors, public authorities, utilities, or the Employer does not work within the dates and other constraints stated in the Contract, and they cause delay or extra cost to the Contractor.

(i)      The effects on the Contractor of any of the Employer’s risks.

(j)      The Project Manager unreasonably delays issuing a Certificate of Completion.

(k)     Other  compensation  events  described   in   the  Contract   or determined by the Project Manager shall apply.

24.2   If a compensation event would cause additional cost or would prevent the Work being completed before the Intended Completion Date, the Contract Price shall be increased and/or the Intended Completion Date shall be extended.  The Project Manager shall decide whether and by how much the Contract Price shall be increased and whether and by how much the Intended Completion Date shall be extended.

24.3   As soon as information demonstrating the effect of each compensation event upon the Contractor’s forecast cost has been provided by the Contractor, it shall be assessed by the Project Manager, and the Contract Price shall be adjusted accordingly.   If the Contractor’s forecast is deemed unreasonable, the Project Manager shall adjust the

Contract Price based on the Project Manager’s own forecast. The Project Manager will assume that the Contractor will react competently and promptly to the event.

24.4   The Contractor shall not be entitled to compensation to the extent that the Employer’s interests are adversely affected by the Contractor not having given early warning or not having co-operated with the Project Manager.

24.5   Prices shall be adjusted for fluctuations in the cost of inputs only if provided for in the Appendix to Conditions of Contract.

24.6   The Contractor shall give written notice to the Project Manager of his intention to make a claim within thirty days after the event giving rise to the claim has first arisen. The claim shall be submitted within thirty days thereafter.

Provided always that should the event giving rise to the claim of continuing effect, the Contractor shall submit an interim claim within the said thirty days and a final claim within thirty days of the end of the event giving rise to the claim.

25. Price Adjustment

25.1 The Project Manager shall adjust the Contract Price if taxes, duties and other levies are changed between the date 30 days before the submission of tenders for the Contract and the date of Completion. The adjustment shall be the change in the amount of tax payable by the Contractor.

25.2 The Contract Price shall be deemed to be based on exchange rates current at the date of tender submission in calculating the cost to the Contractor of materials to be specifically imported (by express provisions in the Contract Bills of Quantities or Specifications) for permanent incorporation in the Works.  Unless otherwise stated in the Contract, if at any time during the period of the Contract exchange rates shall be varied and this shall affect the cost to the Contractor of such materials, then the Project Manager shall assess the net difference in the cost of such materials. Any amount from time to time so assessed shall be added to or deducted from the Contract Price, as the case may be.

25.3  Unless otherwise stated in the Contract, the Contract Price shall be deemed to have been calculated in the manner set out below and in sub- clauses 25.4 and 25.5 and shall be subject to adjustment in the events specified thereunder;

(i)      The prices contained in the Contract Bills of Quantities shall be deemed to be based upon the rates of wages and other emoluments and expenses as determined by the Joint Building Council of Kenya (J.B.C.) and set out in the schedule of basic rates issued 30 days before the date for submission of tenders. A copy of the schedule used by the Contractor in his pricing shall be attached in the Appendix to Conditions of Contract.

(ii)     Upon J.B.C. determining that any of the said rates of wages or other emoluments and expenses are increased or decreased, then the Contract Price shall be increased or decreased by the amount assessed by the Project Manager based upon the difference, expressed as a percentage, between the rate set out in the schedule of basic rates issued 30 days before the date for submission of tenders and the rate published by the J.B.C. and applied to the quantum of labour incorporated within the amount of Work remaining to be executed at the date of publication of such increase or decrease.

(iii)    No adjustment shall be made in respect of changes in the rates of wages and other emoluments and expenses which occur after the date of Completion except during such other period as may be granted as an extension of time under clause 17.0 of these Conditions.

25.4   The prices contained in the Contract Bills of Quantities shall be deemed to be based upon  the basic prices of materials to be permanently incorporated in the Works as determined by the J.B.C. and set out in the schedule of basic rates issued 30 days before the date for submission of tenders. A copy of the schedule used by the Contractor in his pricing shall be attached in the Appendix to Conditions of Contract.

25.5   Upon the J.B.C. determining that any of the said basic prices are increased or decreased then the Contract Price shall be increased or decreased by the amount to be assessed by the Project Manager based upon the difference between the price set out in the schedule of basic rates issued 30 days before the date for submission of tenders and the rate published by the J.B.C. and applied to the quantum of the relevant materials which have not been taken into account in arriving at the amount of any interim certificate under clause 23 of these Conditions issued before the date of publication of such increase or decrease.

25.6   No adjustment shall be made in respect of changes in basic prices of materials which occur after the date for Completion except during such other period as may be granted as an extension of time under clause

17.0 of these Conditions.

25.7   The provisions of sub-clause 25.1 to 25.2 herein shall not apply in respect of any materials included in the schedule of basic rates.

26. Retention

26.1 The Employer shall retain from each payment due to the Contractor the proportion stated in the Appendix to Conditions of Contract until Completion of the whole of the Works. On Completion of the whole of the Works, half the total amount retained shall be repaid to the Contractor and the remaining half when the Defects Liability Period has passed and the Project Manager has certified that all defects notified to the Contractor before the end of this period have been corrected.

27. Liquidated Damages

27.1 The Contractor shall pay liquidated damages to the Employer at the rate stated in the Appendix to Conditions of Contract for each day that the actual Completion Date is later than the Intended Completion Date. The Employer may deduct liquidated damages from payments due to the Contractor.   Payment of liquidated damages shall not alter   the Contractor’s liabilities.

27.2 If the Intended Completion Date is extended after liquidated damages have been paid, the Project Manager shall correct any overpayment of liquidated damages by the Contractor by adjusting the next payment certificate.  The Contractor shall be paid interest on the overpayment, calculated from the date of payment to the date of repayment, at the rate specified in Clause 23.30

28. Securities

28.1 The Performance Security shall be provided to the Employer no later than the date specified in the Letter of Acceptance and shall be issued in an amount and form and by a reputable bank acceptable to the Employer, and denominated in Kenya Shillings. The Performance Security shall be valid until a date 30 days beyond the date of issue of the Certificate of Completion.

29. Dayworks

29.1 If applicable, the Dayworks rates in the Contractor’s tender shall be used for small additional amounts of Work only when the Project Manager has given written instructions in advance for additional work to be paid for in that way.

29.2 All work to be paid for as Dayworks shall be recorded by the Contractor on Forms approved by the Project Manager. Each completed form shall be verified and signed by the Project Manager within two days of the Work being done.

29.3 The Contractor shall be paid for Dayworks subject to obtaining signed

Dayworks forms.

30. Liability and Insurance

30.1 From the Start Date until the Defects Correction Certificate has been

issued, the following are the Employer’s risks:

(a)	The risk of personal injury, death or loss of or damage to property (excluding the Works, Plant, Materials and Equipment), which are due to;

i)      use or occupation of the Site by the Works or for the purpose of the Works, which is the unavoidable result of the Works, or

(ii)     negligence, breach of statutory duty or interference with any legal right by the Employer or by any person employed by or contracted to him except the Contractor.

(b)     The  risk  of  damage  to  the  Works,  Plant,  Materials,  and Equipment to the extent that it is due to a fault of the Employer or in Employer’s design, or due to war or radioactive contamination directly affecting the place where the Works are being  executed.

30.2 From the Completion Date until the Defects Correction Certificate has been issued, the risk of loss of or damage to the Works, Plant, and Materials is the Employer’s risk except loss or damage due to;

(a)     a defect which existed on or before the Completion Date.

(b)     an event occurring before the Completion Date, which was not

itself the Employer’s risk

(c)     the activities of the Contractor on the Site after the Completion

Date.

30.3 From the Start Date until the Defects Correction Certificate has been issued, the risks of personal injury, death and loss of or damage to property (including, without limitation, the Works, Plant, Materials, and Equipment) which are not Employer’s risk are Contractor’s risks.

The Contractor shall provide, in the joint names of the Employer and the Contractor, insurance cover from the Start Date to the end of the Defects Liability Period, in the amounts stated in the Appendix to Conditions of Contract for the following events;

(a)     loss of or damage to the Works, Plant, and Materials;

(b)     loss of or damage to Equipment;

(c)	loss  of  or  damage  to  property  (except  the  Works,  Plant, Materials, and Equipment) in connection with the Contract, and (d) Personal injury or death.

30.4 Policies and certificates for insurance shall be delivered by the Contractor to the Project Manager for the Project Manager’s approval before the Start Date.    All such insurance shall provide for compensation required to rectify the loss or damage incurred.

30.5   If the Contractor does not provide any of the policies and certificates required, the Employer may affect the insurance which the Contractor should have provided and recover the premiums from payments otherwise due to the Contractor or, if no payment is due, the payment of the premiums shall be a debt due.

30.6   Alterations to the terms of insurance shall not be made without the approval of the Project Manager.  Both parties shall comply with any conditions of insurance policies.

31. Completion and taking over

31.1 Upon deciding that the Works are complete, the Contractor shall issue a written request to the Project Manager to issue a Certificate of Completion of the Works.  The Employer shall take over the Site and the Works within seven [7] days of the Project Manager’s issuing a Certificate of Completion.

32. Final Account

32.1 The Contractor shall issue the Project Manager with a detailed account of the total amount that the Contractor considers payable to him by the Employer under the Contract before the end of the Defects Liability Period. The Project Manager shall issue a Defects Liability Certificate and certify any final payment that is due to the Contractor within 30 days of receiving the Contractor’s account if it is correct and complete. If it is not, the Project Manager shall issue within 30 days a schedule that states the scope of the corrections or additions that are necessary. If the final account is still unsatisfactory after it has been resubmitted, the Project Manager shall decide on the amount payable to the Contractor and issue a Payment Certificate.  The Employer shall pay the Contractor the amount due in the Final Certificate within 60 days.

33. Termination

33.1 The Employer or the Contractor may terminate the Contract if the other party causes a fundamental breach of the Contract. These fundamental breaches of Contract shall include, but shall not be limited to, the following;

(a)	the Contractor stops work for 30 days when no stoppage of work is shown on the current program and the stoppage has not been authorised by the Project Manager;

(b)     the Project Manager instructs the Contractor to delay the progress of the Works, and the instruction is not withdrawn within 30 days;

(c)	the Contractor is declared bankrupt or goes into liquidation other than for a reconstruction or amalgamation;

(d)     a payment certified by the Project Manager is not paid by the Employer to the Contractor within 30 days (for Interim Certificate) or 60 days (for Final Certificate)of issue.

(e)	the  Project  Manager  gives  notice  that  failure  to  correct  a particular defect is a fundamental breach of Contract and the Contractor fails to correct it within a reasonable period of time determined by the Project Manager;

(f)      the Contractor does not maintain a security, which is required.

33.2   When either party to the Contract gives notice of a breach of Contract to the Project Manager for a cause other than those listed under Clause

33.1 above, the Project Manager shall decide whether the breach is fundamental or not.

33.3   Notwithstanding the above, the Employer may terminate the Contract for convenience.

33.4   If  the  Contract  is  terminated,  the  Contractor  shall   stop  work immediately, make the Site safe and secure, and leave the Site as soon as reasonably possible.   The Project Manager shall immediately thereafter arrange for a meeting for the purpose of taking record of the Works executed and materials, goods, equipment and temporary buildings on Site.

34. Payment Upon Termination

34.1 If the Contract is terminated because of a fundamental breach of Contract by the Contractor, the Project Manager shall issue a certificate for the value of the Work done and materials ordered and delivered to Site up to the date of the issue of the certificate. Additional liquidated damages shall not apply.  If the total amount due to the Employer exceeds any payment due to the Contractor, the difference shall be a debt payable by the Contractor.

34.2 If the Contract is terminated for the Employer’s convenience or because of a fundamental breach of Contract by the Employer, the Project Manager shall issue a certificate for the value of the Work done, materials ordered, the reasonable cost of removal of equipment, repatriation of the Contractor’s personnel employed solely on the Works and the Contractor’s costs of protecting and securing the Works.

34.3 The Employer may employ and pay other persons to carry out and complete the Works and to rectify any defects and may enter upon the Works and use all materials on the Site, plant, equipment and temporary works.

The Contractor shall, during the execution or after the completion of the Works under this clause remove from the Site as and when required, within such reasonable time as the Project Manager may in writing specify, any temporary buildings, plant, machinery, appliances, goods or materials belonging to or hired by him, and in default the Employer may (without being responsible for any loss or damage) remove and sell any such property of the Contractor, holding the proceeds less all costs incurred to the credit of the Contractor.

Until after completion of the Works under this clause the Employer shall not be bound by any other provision of this Contract to make any payment to the Contractor, but upon such completion as aforesaid and the verification within a reasonable time of the accounts therefore the Project Manager shall certify the amount of expenses properly incurred by the Employer and, if such amount added to the money paid to the Contractor before such determination exceeds the total amount which would have been payable on due completion in accordance with this Contract the difference shall be a debt payable to the Employer by the Contractor; and if the said amount added to the said money be less than the said total amount, the difference shall be a debt payable by the Employer to the Contractor.

Release from Performance

If the Contract is frustrated by the outbreak of war or by any other event entirely outside the control of either the Employer or the Contractor, the Project Manager shall certify that the Contract has been frustrated.  The Contractor shall make the Site safe and stop Work as quickly as possible after receiving this certificate and shall be paid for all Work carried out before receiving it.

Corrupt gifts and payments of commission

The Contractor shall not;

offer or give or agree to give to any person in the service of the Employer any gift or consideration of any kind as an inducement or reward for doing or forbearing to do or for having done or forborne to do any act in relation to the obtaining or execution of this or any other Contract for the Employer or for showing or forbearing to show favour or disfavour to any person in relation to this or any other contract for the Employer.

Enter into this or any other contract with the Employer in connection with which commission has been paid or agreed to be paid by him or on his behalf or to his knowledge, unless before the Contract is made particulars of any such commission and of the terms and conditions of any agreement for the payment thereof have been disclosed in writing to the Employer.

Any breach of this Condition by the Contractor or by anyone employed by him or acting on his behalf (whether with or without the knowledge of the Contractor) shall be an offence under the provisions of the Public Procurement Regulations issued under The Exchequer and Audit Act Cap 412 of the Laws of Kenya.

Settlement of Disputes

In case any dispute or difference shall arise between the Employer or the Project Manager on his behalf and the Contractor, either during the progress or after the completion or termination of the Works, such dispute shall be notified in writing by either party to the other with a request to submit it to arbitration and to concur in the appointment of an Arbitrator within thirty days of the notice.  The dispute shall be referred to the arbitration and final decision of a person to be agreed between the parties.   Failing agreement to concur in the appointment of an Arbitrator, the Arbitrator shall be appointed by the Chairman or Vice Chairman of any of the following professional institutions;

Architectural Association of Kenya

Institute of Quantity Surveyors of Kenya

Association of Consulting Engineers of Kenya Chartered Institute of Arbitrators (Kenya Branch) Institution of Engineers of Kenya {IEK}

On the request of the applying party. The institution written to first by the aggrieved party shall take precedence over all other institutions.

The arbitration may be on the construction of this Contract or on any matter or thing of whatsoever nature arising thereunder or in connection therewith, including any matter or thing left by this Contract to the discretion of the Project Manager, or the withholding by the Project Manager of any certificate to which the Contractor may claim to be entitled to or the measurement and valuation referred to in clause 23.0 of these conditions, or the rights and liabilities of the parties subsequent to the termination of Contract.

Provided that no arbitration proceedings shall be commenced on any dispute or difference where notice of a dispute or difference has not been given by the applying party within ninety days of the occurrence or discovery of the matter or issue giving rise to the dispute.

Notwithstanding the issue of a notice as stated above, the arbitration of such a dispute or difference shall not commence unless an attempt has in the first instance been made by the parties to settle such dispute or difference amicably with or without the assistance of third parties. Proof of such attempt shall be required.

Notwithstanding anything stated herein the following matters may be referred to arbitration before the practical completion of the Works or abandonment of the Works or termination of the Contract by either party:

The appointment of a replacement Project Manager upon the said person ceasing to act.

Whether or not the issue of an instruction by the Project Manager is empowered by these Conditions.

Whether or not a certificate has been improperly withheld or is not in accordance with these Conditions.

Any dispute or difference arising in respect of war risks or war damage.

All other matters shall only be referred to arbitration after the completion or alleged completion of the Works or termination or alleged termination of the Contract, unless the Employer and the Contractor agree otherwise in writing.

The Arbitrator shall, without prejudice to the generality of his powers, have powers to direct such measurements, computations, tests or valuations as may in his opinion be desirable in order to determine the rights of the parties and assess and award any sums which ought to have been the subject of or included in any certificate.

The Arbitrator shall, without prejudice to the generality of his powers, have powers to open up, review and revise any certificate, opinion, decision, requirement or notice and to determine all matters in dispute which shall be submitted to him in the same manner as if no such certificate, opinion, decision requirement or notice had been given.

The award of such Arbitrator shall be final and binding upon the parties.

SECTION IV - SPECIAL CONDITIONS OF CONTRACT

4.1 Special conditions of contract shall supplement the general conditions of contract, wherever there is a conflict between the GCC and the SCC, the provisions of the SCC herein shall prevail over those in the GCC.

4.2     Special conditions of contract with reference to the general conditions of contract.

| General conditions of contract reference | Special conditions of contract |
| --- | --- |
| 3.7 | Performance security shall be 10% of the Contract price |
| 3.12 | Payment will be done after completion of works or as stipulated in the contract |
| 3.13 | Price adjustments not allowed |
| 3.20 | As per the laws of Kenya |
| 3.21 | As per the laws of Kenya |

SECTION VI- SPECIFICATIONS- BILL OF QUANTITIES

Proposed Extension of the University Health Services clinic

|  |  | BOQ |  |  |
| --- | --- | --- | --- | --- |
| ITE M DESCRIPTION | QTY | ACTUAL UNIT RATE | AMOUNT |
|  | PRELIMINARIES |  |  |  |
|  | Erect hoarding along the site perimeter in 32g |  |  |  |
|  | Corrugated sheets average 2M above ground level as |  |  |  |
| A | directed | 160 | LM |  |
| B | Construct temporary site store and office | 32 | SM |  |

|  | SUBSTRUCTURE |  |  |  |
| --- | --- | --- | --- | --- |
|  | (All provisional) |  |  |  |
|  | Excavations & Earthworks |  |  |
| A | Clear site of all bushes, shrubs and grub up roots and |  |  |
|  | remove from site | 213 | SM |
| B | Excavate oversite soil average 200 mm deep to |  |  |
|  | remove vegetable soil and cart away from site | 213 | SM |

- Excavate foundation trenches not exceeding 1.50 metres deep starting from reduced level and load

|  | cart away | 60 | CM |
| --- | --- | --- | --- |
| D | Ditto but for column and column bases | 20 | CM |
| E | Extra Over for excavation in rock class 3 | 4 | CM |
| F | Ditto Rock class 2 (Provisional). | 1 | CM |
| G | Return fill and ram approved imported material |  |  |
|  | around foundations. | 54 | CM |
| H | Remove surplus spoil from site and deposit in spoil |  |  |
|  | heaps and later spread on site as directed | 38 | CM |
| I | Allow for plunking and strutting the whole |  |  |
|  | excavation. |  | Item |
| J | Allow for keeping the whole excavation free from all |  |  |
|  | water including spring and running water. |  | Item |
|  | Fillings |  |  |  |
| K | 300mm thick hardcore compacted in layers of 150mm | 62 | SM |
|  | thick |  |  |
| L | 50mm thick murram blinding to surfaces of hardcore | 213 | SM |
| m | removal of tree stamps | 2 | no |

Carried to collection

Page 1

Proposed Extension of the University Health Services clinic

|  |  |  | BOQ |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM DESCRIPTION | QTY | ACTUAL UNIT RATE | AMOUNT |
|  | Substructure cont'd |  |  |  |
|  | Insecticide treatment on blinded surfaces with gladiator |  |  |  |
| A | termicide supplied by INSECTA LTD or other equal and | 213 | SM |  |
|  | approved in accordance with manufacturer's |  |  |  |
|  | specification |  |  |  |
| B1000G Damp proof membrane | 213 | SM |  |

|  | Mass concrete class 15/20(1:3:6) |  |  |  |
| --- | --- | --- | --- | --- |
| C | 50mm thick blinding concrete under strip footing | 66 | SM |
| D | Ditto but to column bases | 14 | SM |
|  | Vibrated reinforced concrete Class 25/20(1:2:4) in: |  |  |  |
| E | Strip foundations | 14 | CM |
| F | Sub-columns and column bases | 1 | CM |
|  | Reinforcement |  |  |  |
|  | Supply and fix steel bar reinforcement including bending, |  |  |
|  | hooking, tying wire, cutting spacers and supporting all in |  |  |
|  | position |  |  |  |
|  | High yield square twisted bars to B.S. 4461 |  |  |  |
|  | Assorted reinforcement |  |  |
| G | y …12 |  | 548 | KG |
|  | Y….10 | 216 | KG |
|  | Y….8 | 349 | KG |
|  | Fabric mesh |  |  |  |
| H BRC mesh ref A98 | 213 | SM |

Carried to collection

Page 2

Proposed Extension of the University Health Services clinic

|  |  |  |  |  |  | BOQ |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM DESCRIPTION | QTY | ACTUAL UNIT RATE | AMOUNT |
|  | Substructure cont'd |  |  |  |
|  | Sawn formwork as described in : |  |  |  |
| A | Sides of strip foundations |  | 230 | SM |  |
| B | Column and column bases | 35 | SM |  |
| C | To vertical edges of ground floor slab 75-150 mm high | 83 | LM |  |
|  | Sub-wall |  |  |  |  |
|  | 150mm thick natural stone walling bedded and jointed in |  |  |  |
| D | cement and sand mortar (1:3) with 20swgx25mm wide | 96 | SM |  |
|  | hoop irons in alternate courses |  |  |  |
|  | Plinth |  |  |  |  |
|  | Cement sand (1:4) mortar rendering with float finish as |  |  |  |
|  | described in |  |  |  |
| E | 12mm thick to plinth | 29 | SM |  |
| F | Prepare and apply two coats of black bituminous paint |  |  |  |
|  | to rendered surfaces of plinth | 29 | SM |  |
| G | 600x600x50mm thick paving slabs laid on and including |  |  |  |
|  | 50mm thick sand bed(m.s) | 100 | SM |  |

Total carried to collection

COLLECTION

Collection from page 1

Collection from page 2

Collection from above

TOTAL FOR SUBSTRUCTURE

Page 3

Proposed Extension of the University Health Services clinic

|  |  |  |  |  |  |  | BOQ |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM DESCRIPTION | QTY | ACTUAL UNIT RATE | AMOUNT |
|  | SUPERSTRUCTURE CONCRETE WORK |  |  |  |  |
|  | Vibrated Reinforced insitu concrete class 25/20(1:2:4) as |  |  |  |
|  | described in:- |  |  |  |
| A | Columns |  | 6 | CM |  |
| B | Beams | 28 | CM |  |
| C | 150 mm suspended floor slab | 155 | SM |  |
| D | 150 mm suspended landings | 11 | SM |  |
| E | Staircase & Ramp | 8 | CM |  |
|  | Reinforcement |  |  |  |  |
|  | High yield square twisted bars to B.S. 4461 |  |  |  |  |
| G | 8mm diameter bars | 1,257 | KG |  |
| H | 10mm ditto | 1,620 | KG |  |
| I | 12mm ditto | 1,774 | KG |  |
| J | 16mm ditto | 1,081 | KG |  |
| K | 20mm ditto | 148 | KG |  |
|  | Sawn formwork as described in: |  |  |  |  |
| L | Sides and soffites of beams | 286 | SM |  |
| M | Vertical sides of columns | 108 | SM |  |
| N | Sloping soffites of staircase & Ramp | 39 | SM |  |
| O | Soffites of landing | 11 | SM |  |

Carried to collection

Page 4

Proposed Extension of the University Health Services clinic

|  |  | BOQ |  |  |
| --- | --- | --- | --- | --- |
| ITEM DESCRIPTION | QTY | ACTUAL UNIT RATE | AMOUNT |
| A | Suspended floor slab | 155 | SM |  |
| B | Edges of risers 150-225mm high | 25 | LM |  |
| C | Sloping edges of staircase (225-300mm) | 48 | LM |  |
| D | Edges of slab 75 -150 mm high | 85 | LM |  |
|  | Total carried to collection |  |  |  |

COLLECTION

Collection from page 4

Collection from above

`

TOTAL FOR SUPERSTRUCTURE

Page 5

Proposed Extension of the University Health Services clinic

|  |  |  |  |  |  | BOQ |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM DESCRIPTION | QTY | ACTUAL | UNIT RATE | AMOUNT |
|  | EXTERNAL WALLING |  |  |  |  |  |
|  | Machine dressed stone walling and bedded and |  |  |  |  |
|  | jointed in cement/ sand (1:3) mortar as described in: |  |  |  |  |
| A | 200mm thick walling reinforced with and including |  |  |  |  |
|  | 20swqx25mm wide and hoop iron in every alternate |  |  |  |  |
|  | courses | 429 |  | SM |  |
|  | Sundries |  |  |  |  |
| B | Fair raking cutting to top of 200mm thick natural |  |  |  |  |
|  | stone wall | 85 |  | LM |  |
| C Labour and materials in eaves filling with 200 mm |  |  |  |  |
|  | thick natural stone laid and jointed in cement |  |  |  |  |
|  | mortar (1:4) to eaves 150mm high | 85 |  | LM |  |
|  | Damp proof course |  |  |  |  |  |
| D | 3ply bituminous felt or other equal and approved |  |  |  |  |
|  | 200mm wide horizontal damp proof course | 85 |  | LM |  |

TOTAL EXTERNAL WALLING CARRIED TO SUMMARY

Page 6

Proposed Extension of the University Health Services clinic

|  | BOQ |  |
| --- | --- | --- |
| ITEM DESCRIPTION | QTY ACTUAL UNIT RATE | AMOUNT |

INTERNAL WALLING

Concrete block walling and bedded and

jointed in cement/ sand (1:3) mortar as described in:

150mm thick walling reinforced with and including 20swqx25mm wide and hoop iron in every alternate

|  | courses | 63 | SM |
| --- | --- | --- | --- |
|  | PARTITIONING WITH GYPSUM BOARDS |  |  |
| B | Gypsum boards including metal gridwork and filler | 168 | SM |
| C Rhinoglide filler 1 x 20Kgs | 4 | No |
| D | Gypsum fibre tape 1 x 90mts | 3 | No |

TOTAL INTERNAL WALLING CARRIED TO SUMMARY

Page 7

Proposed Extension of the University Health Services clinic

|  |  |  |  |  | BOQ |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM DESCRIPTION | QTY | ACTUAL UNIT RATE | AMOUNT |
|  | ROOF CONSTRUCTION AND COVERING |  |  |  |  |
|  | All timber to be sawn cypress of G.S grade seasoned, |  |  |  |
|  | and treated with approved wood preservative |  |  |  |
|  | Roof covering |  |  |  |  |
| A | Supply and fix prepainted gauge 30 roofing sheets |  |  |  |
|  | as MRM IT5/BP950 Profiled sheets | 255 | SM |  |
| B | 32 gauge galvanised plain sheet in valley | 32 | SM |  |
| C | Ditto ridge capping | 30 | LM |  |
| D | Extra over for raking cutting hip and valley tiles | 23 | LM |  |
| E | Extra over for sealing end of ridges | 23 | NO |  |

Flashing

24mm gaugex600mm girth galvanised plain iron shheet flashing twice bent including fixing and

|  | chasing in wall and making good disturbed areas | 28 | LM |
| --- | --- | --- | --- |
|  | Sawn celured second grade cypress-Non Truss |  |  |
| G | 100x50 mm purlins | 504 | LM |
| H | 150x50 mm Tie beams | 225 | LM |
| I | 100x50 mm wall plate bolted at 750 mm centres | 85 | LM |
| J | 100x50mm thick king post | 45 | LM |
| K | 75x50mm thick struts/ties | 420 | LM |
| L | 100x50mm thick rafters | 240 | LM |

Total carried to collection

Page 8

Proposed Extension of the University Health Services clinic

|  |  |  |  |  |  |  |  | BOQ |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM DESCRIPTION | QTY | ACTUAL UNIT RATE | AMOUNT |
|  | Wrot cypress treated with approved preservative |  |  |  |  |
| A | 25x200mm fasciaboard fixed to ends of rafters (m.s) | 90 | LM |  |
|  | Sawn cypress |  |  |  |
| B | 75x50mm bearers plugged | 170 | LM |  |
| C | 50x50mm ditto | 140 | LM |  |
|  | JOINERY |  |  |  |  |
|  | Wrot cypress; knot primed and stopped; nailed |  |  |  |  |
|  | to bearers (m.s) |  |  |  |  |
| D | 100x25mm T&G boarding | 51 | SM |  |
|  | Rainwater Goods |  |  |  |  |

100x100mm box shaped galvanised pressed steel gutter gauge 28 fixed to timber fascia (m.s) with and

|  | including metal brackets | 85 | LM |
| --- | --- | --- | --- |
| F | Extra Over for making 75mm diameter holes for |  |  |
|  | downpipes in gutter | 8 | NO |
| G | Ditto for stopped ends | 8 | No |

Total carried to collection

Page 9

Proposed Extension of the University Health Services clinic

|  |  |  |  |  |  |  | BOQ |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM DESCRIPTION | QTY | ACTUAL UNIT RATE | AMOUNT |
|  | Roofwork cont'd |  |  |  |
| A | Gauge 22 down pipe 75mm diameter fixed to wall |  |  |  |
|  | with and including approved wall brackets at |  |  |  |
|  | 1000mm centres | 24 | LM |  |
| B | Extra over but for swan neck | 8 | NO |  |
| C | Ditto but for horse shoe | 8 | NO |  |
|  | Knot prime stop and prepare and apply |  |  |  |  |
|  | one undercoat and two finishing polyurethane |  |  |  |  |
|  | clear varnish - gloss |  |  |  |  |
| D | General surfaces of wood 200-300mm girth | 100 | LM |  |
| E | T&G eaves boarding | 51 | SM |  |
|  | Prepare and apply one coat of calcium plumbate |  |  |  |  |
|  | and two coats of gloss oil paint to :- |  |  |  |  |
| F | Gutters | 85 | LM |  |
| G | Ditto down pipes; 100-200mm girth | 24 | LM |  |

Total carried to collection

Page 10

Proposed Extension of the University Health Services clinic

|  |  | BOQ |  |
| --- | --- | --- | --- |
| ITEM DESCRIPTION |  | QTY ACTUAL UNIT RATE | AMOUNT |
|  | COLLECTION |  |

Collection from 8

Collection from 9

Collection from 10

TOTAL FOR ROOFWORK

Page 11

Proposed Extension of the University Health Services clinic

|  |  |  |  |  |  |  | BOQ |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM DESCRIPTION | QTY | ACTUAL UNIT RATE | AMOUNT |
|  | DOORS |  |  |  |  |
|  | PANEL DOORS |  |  |  |
|  | Flush Doors |  |  |  |  |
|  | high quality |  |  |  |
| A | 900x2050x45mm high solid cored flush doors | 13 | NO |  |
|  | mahogany veneered both sides and lipped all round |  |  |  |
| B | Special doors |  |  |  |
|  | 1800x2100mm high ditto but in two equal leaves |  |  |  |
|  | complete with rixon floor hinges and locks | 3 | NO |  |
| C Standard casement steel door with open grilles only | 2 | NO |  |
|  | Wrot mahogany to door frames and finishes |  |  |  |
| D | 150x50mm door frame with three labours |  | 85 | LM |  |
|  | plugged to wall |  |  |  |
|  |  |  |  |  |  |  | 85 |  |  |
| E | 100X50mm ditto | 85 | LM |  |
| F | 25mm quadrant beading | 85 | LM |  |
| G | 40x20mm moulded architrave | 85 | LM |  |
|  | Ironmongery as per 'Union' catalogue or other |  |  |  |  |
|  | equal and approved |  |  |  |  |
| H | 100mm pressed steel hinges | 20 | prs |  |
|  | handles |  |  |  |
| I2 lever mortice lock complete with brass handle | 13 | NO |  |
| J150mm brass barrel bolt | 13 | NO |  |
| K Chrome plated hat and coat hook | 13 | NO |  |

TOTAL CARRIED TO COLLECTION

Page 12

Proposed Extension of the University Health Services clinic

|  |  |  |  |  |  |  | BOQ |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM DESCRIPTION | QTY | ACTUAL UNIT RATE | AMOUNT |
| A | 38mm diameter rubbed door stopper with rawl bolt | 17 | NO |  |
|  | plugged to wall |  |  |  |
|  | Metal fixing cramps |  |  |  |
| B | 30 x 3mm. Approved door cramps 250mm. Long |  |  |  |
|  | once bent one end drilled and screwed to wood | 66 | NO |  |
|  | Painting |  |  |  |  |
|  | Prime back of wood before fixing |  |  |  |
| C |  |  |  |  | 85 |  |  |
|  | Surfaces between 100 - 200mm girth |  | LM |  |
| D | Ditto but to surfaces not exceeding 100mm girth | 85 | LM |  |
|  | Prepare and apply 3 coats polyurathane clear matt |  |  |  |  |
|  | vanish to; |  |  |  |
| E |  |  | 33 |  |  |
|  | General surfaces of wood |  | SM |  |
| F | Wood surfaces 100 - 200 mm girth | 85 | LM |  |
| G | Ditto but to surfaces not exceeding 100mm girth | 85 | LM |  |
|  | Carried to Collection |  |  |  |
|  | COLLECTION |  |  |  |
|  | Collection from page 12 |  |  |  |
|  | Collection from Above |  |  |  |

TOTAL FOR DOORS

Page 13

Proposed Extension of the University Health Services clinic

|  |  |  | BOQ |  |
| --- | --- | --- | --- | --- |
| ITEM DESCRIPTION | QTY ACTUAL UNIT RATE | AMOUNT |
|  | WINDOWS |  |  |

Steel casement windows in standard sections frame

including mullion, transomes,mosquito proof gauze

permanent vents with high quality inbuilt haevy duty

polished brass to (m/s kenmetal ltd) or other equal

and approved ,fasteners, window stays,fixing lags

and applying primer before fixing

| A | Ditto but to 1200 x 1500mm high | 9 | No |
| --- | --- | --- | --- |
| B | Ditto but to 1200 x 600mm high | 14 | No |
| C Ditto but to 900 x 600 mm high | 2 | No |

Window sill

275x50mm precast concrete window sill bedded with (1:4) cement sand mortar onto 200mm thick

|  | wall | 14 | LM |
| --- | --- | --- | --- |
|  | Window board |  |  |
| E | 150x25mm wrot mahogany window board plugged |  |  |
|  | to masonry wall | 14 | LM |
|  | Pelmet Boxes |  |  |
| F | 200x25mm thick wrot mahogany fascia with two |  |  |
|  | labours | 14 | LM |
| G | 125x25mm thick top ditto | 14 | LM |
| H | 200x125x25mm ditto stopped ends | 60 | NO |
| I | 50x25mm cypress bearers plugged to wall | 14 | LM |
|  | Curtain rails |  |  |  |
| J | 25mm diameter brass 'I' section curtain rails |  |  |
|  | complete with end brackets and rollers | 60 | LM |

Total to collection

Page 14

Proposed Extension of the University Health Services clinic

|  |  |  |  |  | BOQ |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM DESCRIPTION | QTY | ACTUAL UNIT RATE | AMOUNT |
|  | Windows cont'd |  |  |  |  |
|  | Glazing |  |  |  |  |
| A | 4mm thick clear sheet glass and glazing with putty |  |  |  |
|  | in panes not exceeding 0.10 - 0.50 square metre | 21 | SM |  |
| B | Ditto but to obscured glass | 2 | SM |  |
|  | Burglar proofing grilles |  |  |  |  |

Mild steel grille framed with 40 x 25 x 3mm thick RHS section includin assembly and fixing to opening cutting and pinning lugs to concrete and bedding

|  | frame in cement and sand mortar (1:4) | 21 | SM |
| --- | --- | --- | --- |
|  | Painting and decoration |  |  |
|  | Prepare and apply one undercoat aluminium primer |  |  |
|  | before fixing to |  |  |  |
| D | Backs of wood 100-200mm girth | 14 | LM |
|  | Knot, prime, stop and prepare and apply 3 coats |  |  |  |
|  | polyurathane varnish matt to: |  |  |  |
| E | Wood surfaces 200-300mm girth | 14 | LM |
| F | Prepare and apply 3 coats of gloss oil to window |  |  |
|  | surfaces internally and externally | 38 | SM |
| G | Ditto to burglar proofing grilles | 21 | SM |

Total to collection

Page 15

Proposed Extension of the University Health Services clinic

|  |  | BOQ |  |
| --- | --- | --- | --- |
| ITEM DESCRIPTION | QTY ACTUAL UNIT RATE | AMOUNT |
|  | Windows cont'd |  |  |

COLLECTION

Collection from page 20

Collection from page 21

TOTAL FOR WINDOWS

Page 16

Proposed Extension of the University Health Services clinic

|  |  |  |  |  |  |  |  |  |  |  | BOQ |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM DESCRIPTION | QTY | ACTUAL UNIT RATE | AMOUNT |
|  | FINISHES |  |  |  |
|  | Walls Finishes |  |  |  |  |
|  | Internal walls |  |  |  |  |
|  | Gauged cement, lime and sand (1:2:9) in two coats |  |  |  |  |
|  | plaster steel smooth trowelled to finish |  |  |  |
| A | 12mm thick to walls and concrete surfaces internally | 624 | SM |  |
| B | Ditto to door reveals (100 -200mm) | 90 | LM |  |
| C | Ditto to window jambs ditto | 120 | LM |  |
| D | 12mm thick (1:4) wall backing to receive white glazed |  |  |  |
|  | ceramic tiles | 35 | SM |  |
|  | Ceramic tiles |  |  |  |
|  | Approved "Saj" ceramic coloured wall tiles as described |  |  |  |
|  | 200 x 250 x 6 mm thick tiles on screed backing (m.s) with |  |  |  |
| E | straight joints and pointing in matching cement grout |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | 35 | SM |  |
|  | Prepare and apply three coats silk vinyl paint to: |  |  |  |  |
| F | Plastered surfaces internally | 624 | SM |  |
| G | Ditto to door reveals (100 -200 mm) | 90 | LM |  |
| H | Ditto and ditto to window jambs ditto | 120 | LM |  |
|  | External Wall Finishes |  |  |  |
|  | Gauged cement, lime and sand (1:2:9) in two coats |  |  |  |  |
|  | plaster steel smooth trowelled to finish |  |  |  |
| I | 12mm thick to concrete surfaces externally | 491 | SM |  |

Total to collection

Page 17

Proposed Extension of the University Health Services clinic

|  | BOQ |  |
| --- | --- | --- |
| ITEM DESCRIPTION | QTY ACTUAL UNIT RATE | AMOUNT |

Wall finishes cont'd

Prepare and apply one undercoat and two finishing

coats super gloss oil paint or other equal and

approved to :-

| A Plastered concrete surfaces | 570 | SM |
| --- | --- | --- |

| Total carried to collection | - |
| --- | --- |

| From page 17 | - |
| --- | --- |

| From above | - |
| --- | --- |

TOTAL WALL FINISHES

Page 18

Proposed Extension of the University Health Services clinic

|  |  |  | BOQ |  |
| --- | --- | --- | --- | --- |
| ITEM DESCRIPTION | QTY ACTUAL UNIT RATE | AMOUNT |
|  | Floor Finishes |  |  |  |

Floor screed

25mm thick cement sand (1:4) screed backing to receive

| ceramic tiles | 426 | SM |
| --- | --- | --- |

CERAMIC TILES

400x 400x8mm thick ceramic floor/wall tiles bedded and jointed in cement sand (1:4) mortar and

|  | finished with matching colour waterproof cement | 426 | SM |
| --- | --- | --- | --- |
|  | Skirting |  |  |  |
| C 100mm high ceramic skirting | 290 | LM |

TOTAL FLOOR FINISHES

Page 19

Proposed Extension of the University Health Services clinic

|  |  |  |  |  |  |  |  |  | BOQ |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM DESCRIPTION | QTY | ACTUAL UNIT RATE | AMOUNT |
|  | Staircase finishes |  |  |  |  |
|  | Staircase and ramp balustrading |  |  |  |
|  | Mild steel |  |  |  |  |
| A |  |  |  |  |  |  |  |  |  |  |  |
|  | Staircase railing welded and fabricated in 50x25mm |  |  |  |
|  | RHS,bottom and top rail infilled with 25x25mm RHS 900 | 33 | SM |  |
|  | mm high,16gauge mild steel flats welded and grounded |  |  |  |
|  | together as per Architects instructions |  |  |  |
|  | 15mm thick cement sand screed (1:4) to receive |  |  |  |  |
|  | ceramic tiles in: |  |  |  |  |
| B | Landing | 4 | SM |  |
| C | Risers | 4 | LM |  |
| D | Treads | 7 | LM |  |
| E | 100mm wide sloping skirting | 8 | LM |  |
| F | 150mm average edges of staircase | 8 | LM |  |
| G | Extra over for 25mm wide carboradum non-slip |  |  |  |
|  | insert to treads | 34 | LM |  |
| H | Supply and fix 25mm wide dividing strip | 60 | LM |  |
|  | Supply and fix 8 mm thick ceramic tiles bedded and |  |  |  |  |
|  | jointed together with approved adhesive to:- |  |  |  |  |
| I | Landing | 8 | SM |  |
| J | Risers | 4 | LM |  |
| K | Treads | 7 | LM |  |
| L | 75x50mm wrot mahogany moulded handrail with |  |  |  |
|  | 6 labours fixed to mild steel (m/s) to staircase and |  |  |  |
|  | landings | 8 | LM |  |
|  | Gauged cement lime and sand (1:2:9) plaster with trowel |  |  |  |
| M | finish in 12 mm thick to sloping soffites of | 50 | SM |  |
|  | staircase,ramps and landings |  |  |  |

15mm thick cement sand screed (1:4) to receive

| terrazzo | 30 | SM |
| --- | --- | --- |

Supply and lay terrazzo chippings to:-

Supply and fix 8 mm thick ceramic tiles bedded and

jointed together with approved adhesive to:-

| PRamp flights and landing including dividing strips | 30 | SM |
| --- | --- | --- |

Total to collection

Page 20

Proposed Extension of the University Health Services clinic

|  |  |  |  | BOQ |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ITEM DESCRIPTION | QTY | ACTUAL UNIT RATE | AMOUNT |
|  | Staircase and ramp cont'd |  |  |  |  |
|  | Painting and decorations |  |  |  |  |
| A | Prepare and apply 3 coats gloss oil paint to sloping |  |  |  |
|  | soffites of staircase and landings | 50 | SM |  |
| B | Ditto 150mm average edges of staircase | 24 | LM |  |
| C Ditto and ditto 3 coats polyurathane varnish matt |  |  |  |
|  | to moulded handrail | 80 | LM |  |

TOTAL FOR STAIRCASE & Ramp

Page 21

Proposed Extension of the University Health Services clinic

|  |  |  | BOQ |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM DESCRIPTION | QTY | ACTUAL UNIT RATE | AMOUNT |
|  | Ceiling Finishes |  |  |  |
| A Gauged plaster (1:2:9) with trowel finish in 12mm |  |  |  |
|  | thick to concrete surfaces | 213 | SM |  |
| B | Sawn cypress brandering fixed and nailed to ceiling joists |  |  |  |
|  | at 600mm | 1,065 | LM |  |
| C 15mm thick celotex ceiling boards fixed onto |  |  |  |
|  | 50x50mm thick brandering (m/s) | 213 | SM |  |
| D 100x20mm wrot cypress moulded cornice plugged |  |  |  |
|  | to wall | 145 | LM |  |

|  | Painting |  |  |
| --- | --- | --- | --- |
| E | Prepare and apply 3 coats gloss oil paint to plastered |  |  |
|  | surfaces ceiling soffits | 213 | SM |
| F | Ditto and ditto 3 coats polyurathane clear varnish |  |  |
|  | to wrot cypress moulded cornice (100-200mm) | 145 | LM |
| G | Ditto gloss paint to celotex ceiling | 213 | SM |

TOTAL CEILING FINISHES

Page 22

Proposed Extension of the University Health Services clinic

|  | BOQ |  |
| --- | --- | --- |
| ITEM DESCRIPTION | QTY ACTUAL UNIT RATE | AMOUNT |

SUMMARY

SUBSTRUCTURE WORK

SUPERSTRUCTURE CONCRETE

EXTERNAL WALLING

INTERNAL WALLING

ROOFWORK

DOORS

WINDOWS

WALL FINISHES

FLOOR FINISHES

STAIRCASE FINISHES

CEILING FINISHES

BUILDERS WORK IN CONNECTION TO SERVICES

Allow One million, Six hundred thousand only for

Electrical works, PABX and structured cabling

Allow One million, Eight hundred thousand only for

mechanical (Fire fighting and General plumbing and

drainage) works

Allow Eight hundred thousand only for retrofitting of the

existing clinic into recovery rooms

Allow Two hundred thousand only for contingencies

TOTAL TAKEN TO GRAND SUMMARY

Page 23

Proposed Extension of the University Health Services clinic

|  |  | BOQ |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | QTY | ACTUAL | UNIT | RATE | AMOUNT |
|  | SUMMARY PAGE |  |  |  |  |  |
|  | GENERAL PRELIMINARIES |  |  |  |  |  |
|  | MAIN BUILDING WORKS |  |  |  |  |  |
|  | SUB-TOTALS |  |  |  |  |  |
|  | Add 16% VAT |  |  |  |  |  |
|  | GRAND TOTALS |  |  |  |  |  |

AMOUNT IN WORDS……………………………………………………………………………………………………

………………………………………………………………………………………………………………………………….

CONTRACTOR'S REPRESENTATIVE:…………………………………	SIGN	……………………………….

DATE

WITNESS:……………………………………………………………..	SIGN	………………………………..

DATE

Page 24

SECTION VII      -        STANDARD FORMS

Notes on the Standard Forms:

7.1     Form of Tender and Price Schedule form

These forms must be completed by the tenderer and submitted with the tender documents as specified in the format of submission.  It must also be duly signed by duly authorized representative of the tenderer.

7.2     Confidential Business Questionnaire Form

This form must be completed by the tenderer and submitted with tender documents

7.3     Tender Security Form

When required by the tender document the tenderer shall provide the tender security either in the form included therein after or in another format acceptable to the procuring entity.

7.4     Contract Form

The Contract form shall not be completed by the tenderer at the time of submitting the tenderer at the time of submitting the tender.  The contract form shall be completed after contract award.

7.5     Performance Security form

The performance security form should not be completed by the tenderer at the time of tender preparation. Only the successful tenderer will be required to provide performance security in the sum provided herein or in another form acceptable to the procuring entity.

7.6     Bank Guarantee for Advance Payment.

When there is an agreement to have Advance payment, this form must be duly completed.

7.7     Manufacturer’s Authorization Form

When required by the tender document, this form must be completed and submitted with the tender document. This form will be completed by the manufacturer of the goods where the tender is an agent.

PRICE SCHEDULE FORM

NAME OF TENDERER: ………………………………………………………………

TENDER NUMBER:  ………………………………………………………………

TITLE OF TENDER: Provision of small works proposed extension of university health clinic service.

| NO. | Description of service | TOTAL COST KSHS |
| --- | --- | --- |
| 1. | Total cost for the proposed extension of university health clinic service. |  |

PLEASE NOTE AND COMPLY WITH THE FOLLOWING:

I.      All prices to be inclusive of all taxes.

II.	In case of discrepancy between unit price and total, the unit price shall prevail.

Authorized Official:

Name                               Signature, date and official stamp

FORM OF TENDER

Date

Tender No. JARAMOGI OGINGA ODINGA UNIVERSITY OF SCIENCE AND TECHNOL

To:  J.O.O.U.ST

P.O. BOX 210-40601, Bondo

Gentlemen and/or Ladies:

1.   Having examined the tender documents including Addenda Nos…………………………….. [insert numbers) of which is hereby duly acknowledged, we the undersigned, offer to carry out the works for Refurbishment Works for Provision of expansion services of health  clinic Jaramogi Oginga Odinga University of Science and Technology - Health service Clinic at JOOUST Main Campus – Bondo as indicated in the said tender documents and bill of quantities for the sum of………………………………………………………………………………………………

……………………………………………………………[total tender amount in words and figures]  or such other sums as may be ascertained in accordance with the Schedule of Prices attached herewith and made part of this Tender.

2.   We undertake, if our Tender is accepted, to provide the services in accordance with the services schedule specified in the Schedule of Requirements.

3.   If our Tender is accepted, we will obtain the tender guarantee in a sum equivalent to  	 percent of the Contract Price for the due performance of the Contract, in the form prescribed by (Procuring entity).

4.   We agree to abide by this Tender for a period of ……………………[number] days from the date fixed for tender opening of the Instructions to tenderers, and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

5.   Until a formal Contract is prepared and executed, this Tender, together with your written acceptance thereof and your notification of award, shall constitute a binding Contract between us.

Dated this                                    day of

2017

[signature]                                                      [In the capacity of]

duly authorized to sign tender for and on behalf of

CONTRACT FORM

THIS AGREEMENT made the       day of           20        between………… [Name of procurement entity] of ……………….[country of Procurement entity](hereinafter called “the Procuring entity”) of the one part and ……………………[name of tenderer] of ……….[city and country of tenderer](hereinafter called “the tenderer”) of the other part.

WHEREAS the procuring entity invited tenders for certain materials and spares. Viz……………………..[brief description of materials and spares] and has accepted a tender by the  tenderer  for  the  supply  of  those  materials  and  spares  in  the  spares  in  the  sum  of

………………………………………[contract   price   in   words   and   figures]   NOW   THIS

AGREEMENT WITNESSETH AS FOLLOWS:

1.   In this Agreement words and expressions shall have the same meanings as are respectively assigned to them in the Conditions of Contract referred to.

2.   The following documents shall be deemed to form and be read and construed as part  of this

Agreement, viz.:

(a) The Tender Form and the Price Schedule submitted by the tenderer; (b) the Schedule of Requirements;

(c) the Technical Specifications;

(d) the General Conditions of Contract; (e) the Special Conditions of Contract; and

(f) the Procuring entity’s Notification of Award.

3.   In consideration of the payments to be made by the Procuring entity to the tenderer as hereinafter mentioned, the tenderer hereby covenants with the Procuring entity to provide the materials and spares and to remedy defects therein in conformity in all respects with the provisions of the Contract

4.   The Procuring entity hereby covenants to pay the tenderer in consideration of the provision of the materials and spares and the remedying of defects therein, the Contract Price or such other sum as may become payable under the provisions of the contract at the times and in the manner prescribed by the contract.

IN WITNESS whereof the parties hereto have caused this Agreement to be executed in accordance with their respective laws the day and year first above written.

Signed, sealed, delivered by                      the                    (for the Procuring entity) Signed, sealed, delivered by                      the                      (for the tenderer)  in

the presence of                              .

CONFIDENTIAL BUSINESS QUESTIONNAIRE

You are requested to give the particulars indicated in Part 1 and either Part 2 (a), 2(b) or 2(c)

whichever applied to your type of business.

You are advised that it is a serious offence to give false information on this form.

| Part 1 General Business Name.................................................................................................................... Location of Business Premises............................................................................................ Plot No, ........................................................Street/Road..................................................... Postal address ........................Tel No. ..................................Fax Email............................... Nature of Business................................................................................................................ Registration Certificate No. Maximum value of business which you can handle at any one time – Kshs. ........................… Name of your bankers.......................................................................................................... Branch.................................................................................................................................. |  |
| --- | --- |
|  | Part 2 (a) – Sole Proprietor Your name in full……………………….Age…………………………………………. Nationality……………………………Country of Origin…………………………….. Citizenship details………………………………………………….. |  |
|  | Part 2 (b) – Partnership Given details of partners as follows Name Nationality Citizenship details Shares 1. ……………………………………………………………………………………… 2. ……………………………………………………………………………………… 3. ……………………………………………………………………………………… 4. ……………………………………………………………………………………… |  |
|  | Part 2 (c) – Registered Company Private or Public: ……………………………………………………………………… State the nominal and issued capital of company Nominal Kshs.. ………………………………………………………… Issued Kshs……………………………………………………………. Given details of all directors as follows Name Nationality Citizenship details Shares 1. ………………………………………………………………………………………. 2. ………………………………………………………………………………………. 3. ………………………………………………………………………………………. 4. ………………………………………………………………………………………. |  |
|  | Date……………………………………….Signature of Candidate……………………….. |  |

If a citizen, indicate under “Citizenship Details” whether by Birth, Naturalization or Registration

TENDER SECURITY FORM

Whereas ……………………………………….. [Name of the tenderer]

(Hereinafter called “the tenderer”) has submitted its tender dated……………….. [Date of

submission      of        tender]            for       the       provision        of

………………………………………………………………………………...

[Name and/or description of the services]

(Hereinafter called “the Tenderer”)…………………………………………………….. KNOW ALL PEOPLE by these presents that WE………………………………………

Of…………………………………………[name of bank] of [name of country], having our

registered office at [name of procuring entity] (hereinafter called <the procuring entity> in the sum of [state the amount] for which payment well and truly to be made to the said procuring entity, the Bank binds itself, its successors, and assigns by these presents.  Sealed with the

Common Seal of the said Bank this                 day of

20

THE CONDITIONS of this obligation are:

1.   If the tenderer withdraws its Tender during the period of tender validity specified by the tenderer on the Tender Form; or

2.   If the tenderer, having been notified of the acceptance of its Tender by the Procuring entity during the period of tender validity:

(a)    Fails      or        refuses            to        execute           the       Contract          Form, if	required;         or

(b)    Fails  or  refuses  to  furnish  the  performance  security,  in  accordance  with  the

instructions to tenderers;

we undertake to pay to the Procuring entity up to the above amount upon receipt of its first written demand, without the Procuring entity having to substantiate its demand, provided that in its demand the Procuring entity will note that the arnouut claimed by it is due to it, owing to the occurrence of one or both of the two conditions, specifying the occurred condition or conditions. This guarantee will remain in force up to and including thirty (30) days after the period of tender validity, and any demand in respect thereof should reach the Bank not later than the above date.

[signature of the bank]

(Amend accordingly if provided by Insurance Company)

PERFORMANCE SECURITY FORM To: Kenya Civil Aviation Authority WHEREAS………………………………. [Name of tenderer]

(Hereinafter    called    “the    tenderer”)    has    undertaken,    in    pursuance    of    Contract

No.                      [reference number of the contract] dated                               20            to Supply…………………………………………………………………………………….. [Description services](Hereinafter called “the contract”)

AND WHEREAS it bas been stipulated by you in the said Contract that the tenderer shall furnish

you with a bank guarantee by a reputable bank for the sum specified therein as security for

compliance with the Tenderer’s performance obligations in accordance with the Contract.

AND WHEREAS we have agreed to give the tenderer a guarantee:

THEREFORE WE hereby affirm that we are Guarantors and responsible to you, on behalf of the

tenderer, up to a total of …………………………………………………….

[Amount of the guarantee in words and figures],

and we undertake to pay you, upon your first written demand declaring the tenderer to be in default under the Contract and without cavil or argument, any sum or sums within the limits of

………………………..

[Amount of guarantee] as aforesaid, without your needing to prove or to show grounds or reasons for your demand or the sum specified therein.

This guarantee is valid until the            day of 20

Signature and seal of the Guarantors

[name of bank or financial institution]

[address]

[date]

(Amend accordingly if provided by Insurance Company)

BANK GUARANTEE FOR ADVANCE PAYMENT

To…………………………

[Name of tender]………………………………………

Gentlemen and/or Ladies:

In accordance with the payment provision included in the special conditions of contract, which amends the general conditions of contract to provide for advance payment,

…………………………………………………………………

[Name and address of tenderer][hereinafter called “the tenderer”] shall deposit with the

Procuring entity a bank guarantee to guarantee its proper and faithful performance under the said clause of the contract in an amount of

…………………………………………………………………………………………

[Amount of guarantee in figures and words].

We, the ………………………………………………………………………………

[bank or financial institution], as instructed by the tenderer, agree unconditionally and irrevocably to guarantee as primary obligator and not as surety merely, the payment to the Procuring entity on its first demand without whatsoever right of objection on our part and

without its first claim to the tenderer, in the amount not exceeding

[amount of guarantee in figures and words].

We further agree that no change or addition to or other modification of the terms of the Contract to be performed there under or of any of the Contract documents which may be made between the Procuring entity and the tenderer, shall in any way release us from any liability under this guarantee, and we hereby waive notice of any such change, addition, or modification.

This guarantee shall remain valid and in full effect from the date of the advance payment received by the tenderer under the Contract until [date].

Yours truly,

Signature and seal of the Guarantors

[name of bank or financial institution]

[address]

[date]

LETTER OF NOTIFICATION OF AWARD

Address of Procuring Entity

To:

RE: Tender No.

Tender Name

This is to notify that the contract/s stated below under the above mentioned tender have been awarded to you.

1.   Please acknowledge receipt of this letter of notification signifying your acceptance.

2.   The contract/contracts shall be signed by the parties within 30 days of the date of this letter but not earlier than 14 days from the date of the letter.

3.   You may contact the officer(s) whose particulars appear below on the subject matter of this letter of notification of award.

(FULL PARTICULARS)

SIGNED FOR ACCOUNTING OFFICER

AFFIDAVIT FORM: REPUBLIC OF KENYA

IN THE MATTER OF OATHS AND STATUTORY

IN THE MATTER OF THE PUBLIC PROCUREMENT ANDASSET DISPOSAL ACT, SECTION 62 OF 2015.

I,  …………………………………… of  P.  O.  Box  ………………… being a resident of ……………………… in the Republic of Kenya do hereby make oath and state as follows: -

THAT I am the Chief Executive/Managing Director/Principal Officer

/ Director of ……………………………… (name of the Candidate) which is a Candidate in respect of Tender Number

……………………. to  supply  goods,  render  services  and/or carry out works for Jaramogi Oginga Odinga University of Science and Technology and duly authorized and competent to make this Affidavit.

THAT the aforesaid Candidate has not been requested to pay any inducement to any member of Council, Management, Staff and/or employees and/or agents of Jaramogi Oginga Odinga University of Science and Technology, which is the procuring entity.

THAT the aforesaid Candidate, its servants and/or agents have not offered   any   inducement   to   any   member   of   Council,

Management, Staff and/or employees and/or agents of Jaramogi Oginga Odinga University of Science and Technology.

THAT what is deponed to hereinabove is true to the best of my knowledge information and belief.

SWORN at ………………………. by the said }………………………………………………..      } Name of Chief Executive/Managing Director/       } Principal Officer/Director  } on this…………. day of …………....... 20… }

}

}                  DEPONENT

Before me                                                  }

}

} Commissioner for Oaths                            }

EVALUATION CRITERIA

Technical Evaluation Form

The tenderer is expected to complete Part 1 and 3 of this form

Part A: General Information

Tenderer Name…………………………………………………………….. Postal Address……………………………………………………………... Telephone (Office)………………………………..Mobile……………….. Physical Address……………………………………………………………

Part B: Evaluation Stages

Stage 1:   Mandatory Requirements

Tenderer must qualify in all below in order to proceed to the Evaluation Stage 2

- Must provide a dully Dully filled, signed and stamped Form of Tender.

- Dully filled, signed and stamped Confidential Business Questionnaire

- Should have attended the pre-tender meeting-attach certificate.

- Audited account for the last three financial years ( 2013-2014, 2014-2015,2015-2016)

- Must provide a Tax Compliance Certificate. (attach copy)

- Must provide a Valid Trade License /Single Business permit. (attach copy)

- Must provide a Tax Exemption Certificate/VAT/PIN Certificates (attach copy)

- Must provide a Certificate of registration/business registration (Attach copy)

- Must provide a dully filled, sign and stamped affidavit form.

- Must serialize each page of the bid document, failure to serialize shall lead to disqualification.

- Must provide a Certificate of registration with National Construction Authority (NCA 7)

The bidder who qualifies in the above stage will proceed to Technical Evaluation stage.

Stage 2: Technical Evaluation

| No. | Requirements | Max. Points | Points awarded | Remarks |
| --- | --- | --- | --- | --- |
| 1. | Document fully completed/compliance with pricing instruction (10 points) Dully filled/completed documents(4 points) Consistency (6 points) Consistence in price distribution (6 points) Non consistence (0 points) | 10 |  |  |
| 2. | Personnel (30 points) Attach CV Contract Manager to have at least University Degree in Architecture/Quantity Surveying/Civil Engineering with at least 3 years’ experience (10 points) Site Managers to have at least Higher National Diploma -Building construction/Engineering with at least 3 years’ experience (10 points) Construction Supervisor to have at least ordinary National Diploma- Building construction/Engineering with at least 3 years’ experience (10 points) | 30 |  |  |
| 3. | Experience in works of similar value and size(Attach proof of at least one completed or ongoing works of similar value i.e. letters of award/ contract and certificate of completion) 4 clients and above (12 points) 2-3 clients (6 points) 2 clients and below (2 points) | 20 |  |  |
| 4. | Value of Business the Firm can handle on credit- Attach audited financial statements Kshs.5,000,000.00 upwards Kshs.1,0000,000 –4,999,999 Less than Kshs.999,999.00 (Attach evidence of copies of LPOs, Contracts, Award letters) | 20 20 15 10 |  |  |
| 5. | Machinery-Attach proof of ownership or lease e.g logbook, lease agreement | 20 |  |  |
|  | Total | 100 |  |  |

The pass mark is 70% of 100 points is 70 points

The bidder who qualifies in the above stage will proceed to Financial Evaluation.

Stage 3: Financial Evaluation

The bidder who qualifies in the above stage will be evaluated financially. The lowest evaluated bidder shall be awarded the tender.

Part C: Declaration (For the Tenderer only)

The Tenderer is expected to indicate whether he/she will/will not be evaluated on the above criteria

Q; Will you accept your bid to be evaluated based on the above criteria and abide by them during the entire period of the tender? (Tick appropriately below):

No:                                                                  Yes :

Official Stamp ……………........................ Sign…………………………..

For Official Use Only

(The team Leader of the Evaluation Team will make comments below based on the findings about the Tenderer)

Total marks scored    ………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………

Accept the firm                                                                         Reject the firm

Sign………………………………………………………….Date…………………